TITLE 10—DEPARTMENT OF NATURAL RESOURCES

Division 20—Clean Water Commission

Chapter 7—Water Quality

10 CSR 20-7.010 Prevention of Pollution from Wells to Subsurface Waters of the State

(Rescinded July 10, 1980)

AUTHORITY: section 204.026, RSMo 1978. Original rule filed June 19, 1974, effective June 29, 1974. Amended: Filed April 1, 1975, effective April 11, 1975. Rescinded: Filed Oct. 12, 1979, effective July 10, 1980.

10 CSR 20-7.015 Effluent Regulations

PURPOSE: This rule sets forth the limits for various pollutants which are discharged to the various waters of the state. The two previous rules 10 CSR 20-6.050 and 10 CSR 20-7.010 have been rescinded and this rule combines certain aspects of both rules and modifies the format of the effluent regulations. This rule also complies with the latest changes to the Federal Clean Water Act, P.L. 97-117 (1981).

PUBLISHER’S NOTE: The secretary of state has determined that publication of the entire text of the material that is incorporated by reference as a portion of this rule would be unduly cumbersome or expensive. This material as incorporated by reference in this rule shall be maintained by the agency at its headquarters and shall be made available to the public for inspection and copying at no more than the actual cost of reproduction. This note applies only to the reference material. The entire text of the rule is printed here.

(1) Designations of Waters of the State.

(A) Definitions.

1. Acute Toxicity Test—a test used to determine the concentration of an effluent that causes an adverse effect (usually death) in a group of test organisms during a short-term exposure.

2. Allowable Effluent Concentration—the concentration of a toxicant or the parameter toxicity in the receiving water after mixing, sometimes referred to as the receiving water concentration or the in-stream waste concentration.

3. Chronic Toxicity Test—a short-term test, usually ninety-six (96) hours or longer in duration, in which sublethal effects such as reduced growth or reproduction rates are measured in addition to lethality.

4. Nutrient Credits are reductions that can be generated and used to achieve compliance with nutrient target reduction levels or other nutrient limitations, as follows:

A. For point sources, a reduction in discharges of nutrients in pounds that is greater than the reduction required by law or permit conditions or aggregate assessment for facilities under common ownership or operational control; or

B. For nonpoint sources with established load allocations, an actual reduction in discharge of nutrients in pounds that is greater than the reduction necessitated by the load allocation; or

C. For other nonpoint sources, an actual reduction in discharges of nutrients, for example a nonpoint source installing best management practices.

5. Representative Sample—a small quantity whose characteristics represent the nature and volume of the whole as described in 40 CFR Part 122.48, September 26, 1984, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions.

6. Toxic Unit—a measure of effluent toxicity generally expressed as acute toxicity unit or chronic toxicity unit. The larger the toxicity unit, the greater the toxicity.

7. Toxic Unit-Acute—one-hundred (100) times the reciprocal of the effluent concentration that causes fifty percent (50%) of the organisms to die in an acute toxicity test.

8. Toxic Unit-Chronic—one hundred (100) divided by either the highest effluent concentration that causes no observable effect on the test organisms or the inhibition concentration (IC25) causing a twenty-five percent (25%) or more reduction in the reproduction or growth of the test organisms in a chronic toxicity test.

(B) For the purpose of this rule, the waters of the state are divided into the following categories:

1. The Missouri and Mississippi Rivers (section (2) of this rule);

2. Lakes and reservoirs, including natural lakes and any impoundments created by the construction of a dam across any waterway or watershed. An impoundment designed for or used as a disposal site for tailings or sediment from a mine or mill shall be considered a wastewater treatment device and not a lake or reservoir. Releases to lakes and reservoirs include discharges into streams one-half (1/2) stream mile (.80 km) before the stream enters the lake as measured to its conservation pool (section (3) of this rule);

3. A losing stream is a stream which distributes thirty percent (30%) or more of its flow through natural processes such as through permeable geologic materials into a bedrock aquifer within two (2) miles flow distance downstream of an existing or proposed discharge. Flow measurements to determine percentage of water loss must be corrected to approximate the seven- (7-) day Q10 stream flow. If a stream bed or drainage way has an intermittent flow or a flow insufficient to measure in accordance with this rule, it may be determined to be a losing stream on the basis of channel development, valley configuration, vegetation development, dye tracing studies, bedrock characteristics, geographical data, and other geological factors. Only discharges which in the opinion of the Missouri Department of Natural Resources (department) reach the losing section and which occur within two (2) miles upstream of the losing section of the stream shall be considered releases to a losing stream. Losing streams are defined in 10 CSR 20-2.010(40). Other streams may be determined to be losing by the department (section (4) of this rule);

4. Metropolitan no-discharge streams. These streams and the limitations on discharging to them are listed in Table F of 10 CSR 20-7.031 Water Quality Standards;

5. Special streams—Outstanding National Resource Waters and Outstanding State Resource Waters, as listed in Tables D and E of 10 CSR 20-7.031 (section (6) of this rule);

6. Subsurface waters in aquifers (section (7) of this rule); and

7. All other waters except as noted in paragraphs (1)(B)1.–6. of this rule (section (8) of this rule).

(C) Sections (2) though (8) of this rule establish requirements for discharges to the waters specified in these sections, and the requirements of section (9) of this rule apply to all discharges. The requirements of this rule do not apply to stormwater discharges; effluent limits for stormwater discharges are prescribed in 10 CSR 20-6.200 Storm Water Regulations.

(2) Effluent Limitations for the Missouri and Mississippi Rivers. In addition to the requirements of section (9) of this rule, the following limitations represent the maximum amount of pollutants which may be discharged from any point source, water contaminant source, or wastewater treatment facility.

(A) Discharges from wastewater treatment facilities which receive primarily domestic waste or from publicly owned treatment works (POTWs) shall undergo treatment sufficient to conform to the following limitations:

1. Biochemical Oxygen Demand5 (BOD5) and Total Suspended Solids (TSS) equal to or less than a monthly average of thirty milligrams per liter (30 mg/L) and a weekly average of forty-five milligrams per liter (45 mg/L);

2. pH shall be maintained in the range from six to nine (6–9) standard units in accordance with 40 CFR 133.102 “Secondary Treatment Regulation,” October 16, 1984, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions;

3. Exceptions to paragraphs (2)(A)1. and 2. of this rule are as follows:

A. If the facility is a wastewater lagoon, the TSS shall be equal to or less than a monthly average of eighty milligrams per liter (80 mg/L) and a weekly average of one hundred twenty milligrams per liter (120 mg/L) and the pH shall be maintained above six 6.0, and the BOD5 shall be equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L);

B. If the facility is a trickling filter plant the BOD5 and TSS shall be equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L);

C. Where the use of effluent limitations set forth in this section is known or expected to produce an effluent that will endanger or violate water quality, the department will set specific effluent limitations for individual dischargers to protect the water quality of the receiving streams;

D. The department may require more stringent limitations than authorized in paragraphs (2)(A)1. and 2. and subparagraphs (2)(A)3.A., B., and C. of this rule under the following conditions:

(I) If the facility is an existing facility, the department may set the BOD5 and TSS limits based upon an analysis of the past performance, rounded up to the next five milligrams per liter (5 mg/L) range; and

(II) If the facility is a new facility, the department may set the BOD5 and TSS limits based upon the design capabilities of the plant considering geographical and climatic conditions;

(a) A design capability study has been conducted for new lagoon systems. The study reflects that the effluent limitations should be BOD5 equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L) and TSS equal to or less than a monthly average of seventy milligrams per liter (70 mg/L) and a weekly average of one hundred ten milligrams per liter (110 mg/L).

(b) A design capability study has been conducted for new trickling filter systems and the study reflects that the effluent limitations should be BOD5 and TSS equal to or less than a monthly average of forty milligrams per liter (40 mg/L) and a weekly average of sixty milligrams per liter (60 mg/L); and

4. When the wastewater treatment process causes nitrification which affects the BOD5 reading, the permittee can petition the department to substitute carbonaceous BOD5 in lieu of regular BOD5 testing. If the department concurs that nitrification is occurring, the department will set a carbonaceous BOD5 at five milligrams per liter (5 mg/L) less than the regular BOD5 in the operating permit.

(B) The suspended solids which are present in stream water and which are removed during treatment may be returned to the same body of water from which they were taken, along with any additional suspended solids resulting from the treatment of water to be used as public potable water or industrial purposes using essentially the same process as a public water treatment process. This includes the solids that are removed from potable waters that are withdrawn from wells located in the alluvial valley of the Missouri and Mississippi Rivers.

(C) Monitoring Requirements.

1. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

A. The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit; and

B. Sludge sampling will be established in the permit.

2. Unless otherwise specified in the operating permit, sample types shall be—

A. Grab samples for lagoons and recirculating media beds;

B. Twenty-four- (24-) hour composite samples for mechanical plants; and

C. Sludge samples will be grab samples unless otherwise specified in the operating permit.

3. The monitoring frequency and sample types stated in subsection (2)(C) of this rule are minimum requirements.

(3) Effluent Limitations for the Lakes and Reservoirs.

(A) In addition to the requirements of section (9) of this rule, the following limitations represent the maximum amount of pollutants which may be discharged from any point source, water contaminant source, or wastewater treatment facility to a lake or reservoir designated in 10 CSR 20-7.031 as L2 and L3 which is publicly owned. Releases to lakes and reservoirs include discharges into streams one-half (1/2) stream mile (.80 km) before the stream enters the lake as measured to its conservation pool.

1. Discharges from wastewater treatment facilities which receive primarily domestic waste or from POTWs shall undergo treatment sufficient to conform to the following limitations:

A. BOD5 and TSS equal to or less than a monthly average of twenty milligrams per liter (20 mg/L) and a weekly average of thirty milligrams per liter (30 mg/L);

B. pH shall be maintained in the range from six to nine (6–9) standard units in accordance with 40 CFR 133.102 “Secondary Treatment Regulation,” October 16, 1984, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions;

C. Where the use of effluent limitations set forth in section (3) of this rule are reasonably expected to exceed applicable water quality standards, the department may either conduct waste load allocation studies in order to arrive at a limitation which protects the water quality of the state or set specific effluent limitations for individual dischargers to protect the water quality of the receiving streams; and

D. When the wastewater treatment process causes nitrification which affects the BOD5 reading, the permittee can petition the department to substitute carbonaceous BOD5 in lieu of regular BOD5 testing. If the department concurs that nitrification is occurring, the department will set a carbonaceous BOD5 at five milligrams per liter (5 mg/L) less than the regular BOD5 in the operating permit.

(B) Monitoring Requirements.

1. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

A. The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit; and

B. Sludge sampling will be established in the permit.

2. Unless otherwise specified in the operating permit, sample types shall be—

A. Grab samples for lagoons and recirculating media beds;

B. Twenty-four- (24-) hour composite samples for mechanical plants; and

C. Sludge samples shall be grab samples unless otherwise specified in the operating permit.

3. The monitoring frequency and sample types stated in paragraphs (3)(B)1. through 2. of this rule are minimum requirements.

(C) For lakes designated in 10 CSR 20-7.031 as L1, which are primarily used for public drinking water supplies, there will be no discharge into the watersheds above these lakes from domestic or industrial wastewater sources regulated by these rules.

1. Discharges from potable water treatment plants, such as filter wash, may be permitted.

2. Separate storm sewers will be permitted, but only for the transmission of storm water.

3. Discharges directly to L1 lakes for the purposes of water reuse and drought mitigation may be permitted if effluent quality does not exceed the following limitations:

A. Ten milligrams per liter (10 mg/L) as a monthly average and fifteen milligrams per liter (15 mg/L) as a daily maximum of BOD5;

B. Fifteen milligrams per liter (15 mg/L) as a monthly average and twenty milligrams per liter (20 mg/L) as a daily maximum of TSS;

C. pH shall be maintained in the range from six to nine (6.0–9.0) standard units;

D. One hundred twenty-six (126) colony forming units per one hundred (100) ml (year round) of E.coli;

E. Eight milligrams per liter (8 mg/L) as an annual average of total nitrogen;

F. Five-tenths milligrams per liter (0.5 mg/L) as an annual average of total phosphorus; and

G. In addition to the requirements of section (9) of this rule, domestic and industrial point source discharges must ensure that toxic and bioaccumulative pollutants are not discharged at levels above the drinking water supply (DWS) criteria found in Table A1 of 10 CSR 20-7.031.

4. Discharges permitted prior to the effective date of this requirement may continue to discharge so long as the discharge remains in compliance with its operating permit.

(D) For lakes designated in 10 CSR 20- 7.031 as L3 which are not publicly owned, the discharge limitations shall be those contained in section (8) of this rule.

(E) In addition to other requirements in this section, discharges to Lake Taneycomo and its tributaries between Table Rock Dam and Power Site Dam (and excluding the discharges from the dams) shall not exceed five tenths milligrams per liter (0.5 mg/L) of phosphorus as a monthly average. Discharges meeting both the following conditions shall be exempt from this requirement:

1. Those permitted prior to May 9, 1994; and

2. Those with design flows of less than twenty-two thousand five hundred (22,500) gpd. The department may allow the construction and operation of interim facilities without phosphorus control provided their discharges are connected to regional treatment facilities with phosphorus control not later than three (3) years after authorization.

(F) In addition to other requirements in this section, discharges to Table Rock Lake watershed, defined as hydrologic units numbered 11010001 and 11010002, shall not exceed five-tenths milligrams per liter (0.5 mg/L) of phosphorus as a monthly average. Discharges meeting both of the following conditions are exempt from this requirement:

1. Those permitted prior to November 30, 1999; and

2. Those with design flows less than twenty-two thousand five hundred (22,500) gpd.

(G) Discharges in the White River basin and outside of the areas identified in (3)(E) and (F) of this section for phosphorus limitations shall be monitored for phosphorus discharges, and the frequency of monitoring shall be the same as that for BOD5 and TSS, but not less than annually. The department may reduce the frequency of monitoring if the monitoring data is sufficient for water quality planning purposes.

(4) Losing Stream Determinations and Effluent Limitations for Losing Streams.

(A) The department may make losing stream determinations at any time, typically during review of the first application for discharge to a specific water or location within a watershed.

(B) The department shall process permit applications and other requests for approval in accordance with any existing losing stream determinations.

(C) For purposes of applying for any permit or other approval, any stream segment within two (2) miles upstream of a known losing stream segment is presumed to be also losing unless rebutted by a specific geologic evaluation that concludes the stream segment is not losing.

(D) Existing facilities operating under a state operating permit and new facilities being constructed under a construction permit within two (2) miles upstream of a known stream segment subsequently determined to be losing will be allowed to continue in operation at permitted or approved effluent limits for a period of time not to exceed the design life of the facility or twenty (20) years from the original construction completion, whichever is less, provided the facility is in compliance with its effluent limits and remains in compliance with those limits, and if neither of the following conditions is present:

1. The discharge from such a facility can be eliminated by connection to a locally available facility, in which case the facility shall connect and eliminate its discharge within three (3) years of the losing stream determination. A local facility shall be considered available if that facility or an interceptor has capacity to accept the additional  flow and is within two thousand (2,000) feet or a distance deemed feasible by the department; and

2. The discharge from such a facility is shown to cause pollution of groundwater, in which case the facility shall be upgraded to appropriate effluent standards within three (3) years.

(E) The department shall process any additional permits or approvals for increased treatment plant design capacity in accordance with the most recent losing stream determination. No additional permits or approvals for any facilities shall be construed as lengthening the time for compliance with losing stream effluent limitations as established in subsection (4)(D) of this rule.

(F) Prior to discharging to a losing stream, alternatives such as relocating the discharge to a gaining stream and connection to a regional wastewater treatment facility must be evaluated and determined to be unacceptable for environmental and/or economic reasons.

(G) In addition to the requirements of section (9) of this rule, each permit for a discharge from a wastewater treatment facility to a losing stream shall be written using the limitations contained in subsections (4)(G) and (H) of this rule in accordance with any applicable compliance schedule. Discharges from private wastewater treatment facilities which receive primarily domestic waste, industrial sources that treat influents containing significant amounts of organic loading, or POTWs permitted under this section shall undergo treatment sufficient to conform to the following limitations:

1. BOD5 equal to or less than a monthly average of ten milligrams per liter (10 mg/L) and a weekly average of fifteen milligrams per liter (15 mg/L);

2. TSS equal to or less than a monthly average of fifteen milligrams per liter (15 mg/L) and a weekly average of twenty milligrams per liter (20 mg/L);

3. pH shall be maintained in the range from six to nine (6–9) standard units in accordance with 40 CFR 133.102 “Secondary Treatment Regulation,” October 16, 1984, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions;

4. All chlorinated effluent discharges to losing streams or within two (2) stream miles flow distance upstream of a losing stream shall also be dechlorinated prior to discharge;

5. When the wastewater treatment process causes nitrification which affects the BOD5 reading, the permittee can petition the department to substitute carbonaceous BOD5 in lieu of regular BOD5 testing. If the department concurs that nitrification is occurring, the department will set a carbonaceous BOD5 at five milligrams per liter (5 mg/L) less than the regular BOD5 in the operating permit; and

6. For situations in which nitrates in a discharge can be reasonably expected to impact specific drinking water wells, the concentration of nitrates in the discharge shall be limited to an average monthly limit equal to or less than ten milligrams per liter (10 mg/L) as nitrogen and a maximum daily limit of twenty milligrams per liter (20 mg/L). Applicants may conduct a study in the same manner as the Missouri Risk-Based Corrective Action Technical Guidance, published in 2006, to determine if nitrate limits are necessary to protect groundwater. In such cases, applicants shall submit a study plan for approval prior to the study and submit all findings as part of their permit application.

(H) Monitoring Requirements.

1. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

A. The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit.

B. Sludge samples will be established in the permit.

2. Unless otherwise specified in the operating permit, sample types shall be—

A. Grab samples for lagoons and recirculating media beds;

B. Twenty-four- (24-) hour composite samples for mechanical plants; and

C. Sludge samples shall be grab samples unless otherwise specified in the operating permit.

3. The monitoring frequency and sample types stated in paragraphs (4)(H)1. through 2. of this rule are minimum requirements.

(5) Effluent Limitations for Metropolitan No-Discharge Streams.

(A) Discharge to metropolitan no-discharge streams is prohibited, except as specifically permitted under the Water Quality Standards 10 CSR 20-7.031 and noncontaminated storm water flows.

(B) Monitoring Requirements.

1. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

A. The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit; and

B. Sludge sampling will be established in the permit.

2. Unless otherwise specified in the operating permits, sample types shall be—

A. Grab samples for lagoons and recirculating media beds;

B. Twenty-four- (24-) hour composite samples for mechanical plants; and

C. Sludge samples shall be grab samples unless otherwise specified in the operating permit.

3. The monitoring frequency and sample types stated in paragraphs (5)(B)1. through 2. of this rule are minimum requirements.

(6) Effluent Limitations for Special Streams.

(A) Limits for Outstanding National Resource Waters as listed in Table D of 10 CSR 20-7.031 and Drainages Thereto.

1. In addition to the requirements of section (9) of this rule, the following limitations represent the maximum amount of pollutants which may be discharged from any point source, water contaminant source, or wastewater treatment facility to waters included in this section.

2. Discharges from wastewater treatment facilities, which receive primarily domestic waste, or from POTWs are limited as follows:

A. New releases from any source are prohibited;

B. Discharges from sources that existed before June 29, 1974, or if additional stream segments are placed in this section, discharges that were permitted at the time of the designation will be allowed.

3. Industrial, agricultural, and other non-domestic contaminant sources, point sources, or wastewater treatment facilities which are not included under subparagraph (6)(A)2.B. of this rule shall not be allowed to discharge. All precipitation collected in the operational containment area or secondary containment area as well as process generated wastewater shall be stored and disposed of in a no-discharge manner.

4. Monitoring requirements.

A. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

(I) The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit;

(II) Sludge sampling will be established in the permit.

B. Unless otherwise specified in the operating permit, sample types shall be—

(I) Grab samples for lagoons and recirculating media beds;

(II) Twenty-four- (24-) hour composite samples for mechanical plants; and

(III) Sludge samples shall be grab samples unless otherwise specified in the operating permit.

C. The monitoring frequency and sample types stated in subparagraphs (6)(A)4.A. through B. of this rule are minimum requirements.

(B) Limits for Outstanding State Resource Waters as listed in Table E of 10 CSR 20-7.031.

1. Discharges shall not cause the current water quality in the streams to be lowered.

2. Discharges will be permitted as long as the requirements of paragraph (6)(B)1. of this rule are met and the limitations in section (8) of this rule are not exceeded.

(7) Effluent Limitations for Subsurface Waters.

(A) No person shall release any water into aquifers, store or dispose of water in a way which causes or permits it to enter aquifers either directly or indirectly unless it meets the requirements of section (9) of this rule and it meets the appropriate groundwater protection criteria set in 10 CSR 20-7.031, Table A at a point ten feet (10') under the release point, or other compliance point based on site specific considerations, except as provided in subsection (7)(D) of this rule. The permit writer shall review the complete application and other data to determine which parameter to include in the permit.

(B) No wastewater shall be introduced into sinkholes, caves, fissures, or other openings in the ground which do or are reasonably certain to drain into aquifers except as provided in section (4) of this rule.

(C) All abandoned wells and test holes shall be properly plugged or sealed to prevent pollution of subsurface waters, as per the requirements of the department.

(D) The effluent limitations specified in subsection (7)(A) of this rule shall not apply to facilities designed and constructed to meet department design criteria provided these designs have been reviewed and approved by the department. The department has the right to require monitoring, reporting, public notice, and other information as deemed appropriate. This exemption may be revoked by the department should any monitoring indicate an adverse effect on a beneficial water use or if the numeric criteria in the Water Quality Standards are being exceeded.

(E) Any person not included in subsection (7)(D) of this rule who releases, stores, or disposes of water in a manner which results in releases of water to an aquifer having concentrations in excess of one (1) or more parameter limitations provided in subsection (7)(A) of this rule may be allowed to resample for purposes of verification of the excess. At their discretion, persons may demonstrate, at the direction of the department, that the impact on the water quality in the aquifer is negligible on the beneficial uses. The demonstration shall consider, at a minimum, the following factors:

1. Site geology;

2. Site geohydrology;

3. Existing and potential water uses;

4. Existing surface water and groundwater quality;

5. Characteristics of wastes or wastewater contained in facilities; and

6. Other items as may be required by the department to assess the proposal.

A. Demonstrations conducted under 10 CSR 25-18.010 shall be reviewed by the department in accordance with such rules. If the demonstrations show that the impact on groundwater quality will not result in an unreasonable risk to human health or the environment, alternate effluent limitations will be established by the department.

B. All other demonstrations shall be reviewed by the department. If the demonstrations show that the impact on groundwater quality will not result in an unreasonable risk to human health or the environment, alternate effluent limitation(s) will be proposed by the department and presented to the Clean Water Commission for approval. The Clean Water Commission has the right to require monitoring, reporting, public notice, and other information as deemed appropriate in the approval of the alternate limitation for one (1) or more parameters from subsection (7)(A) of this rule. The Clean Water Commission may hold a public hearing to secure public comment prior to final action on an alternate limitation.

C. No alternate limitations will be granted which would impair beneficial uses of the aquifer or threaten human health or the environment.

D. Alternate limitations may be revoked by the department should any monitoring indicate an adverse effect on a beneficial water use or violations of the alternate limitation.

(8) Effluent Limitations for All Waters, Except Those in Paragraphs (1)(B)1.–6. of This Rule. In addition to the requirements of section (9) of this rule, the following limitations represent the maximum amount of pollutants which may be discharged from any point source, water contaminant source, or wastewater treatment facility.

(A) Discharges from wastewater treatment facilities which receive primarily domestic waste or POTWs shall undergo treatment sufficient to conform to the following limitations:

1. BOD5 and TSS equal to or less than a monthly average of thirty milligrams per liter (30 mg/L) and a weekly average of forty-five milligrams per liter (45 mg/L);

2. pH shall be maintained in the range from six to nine (6–9) standard units in accordance with 40 CFR 133.102 “Secondary Treatment Regulation,” October 16, 1984, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions;

3. The limitations of paragraphs (8)(A)1. and 2. of this rule will be effective unless an alternate limitation will not cause violations of the Water Quality Standards or impairment of the uses in the standards. When an Antidegradation Review has been completed for new or expanded discharges, the following alternate limitation may also be allowed:

A. If the facility is a wastewater lagoon, the TSS shall be equal to or less than a monthly average of eighty milligrams per liter (80 mg/L) and a weekly average of one hundred twenty milligrams per liter (120 mg/L) and the pH shall be maintained above six (6.0) and the BOD5 shall be equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L);

B. If the facility is a trickling filter plant, the BOD5 and TSS shall be equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L);

C. Where the use of effluent limitations set forth in section (8) of this rule is known or expected to produce an effluent that will endanger water quality, the department will set specific effluent limitations for individual dischargers to protect the water quality of the receiving streams; and

D. The department may require more stringent limitations than authorized in paragraphs (8)(A)1. and 2. and subparagraphs (8)(A)3.A., B., and C. of this rule under the following conditions:

(I) If the facility is an existing facility, the department may set the BOD5 and TSS limits based upon an analysis of the past performance, rounded up to the next five milligrams per liter (5 mg/L) range; and

(II) If the facility is a new facility the department may set the BOD5 and TSS limits based upon the design capabilities of the plant considering geographical and climatic conditions:

(a) A design capability study has been conducted for new lagoon systems. The study reflects that the effluent limitations should be BOD5 equal to or less than a monthly average of forty-five milligrams per liter (45 mg/L) and a weekly average of sixty-five milligrams per liter (65 mg/L) and TSS equal to or less than a monthly average of seventy milligrams per liter (70 mg/L) and a weekly average of one hundred ten milligrams per liter (110 mg/L); or

(b) A design capability study has been conducted for new trickling filter systems and the study reflects that the effluent limitations should be BOD5 and TSS equal to or less than a monthly average of forty milligrams per liter (40 mg/L) and a weekly average of sixty milligrams per liter (60 mg/L); and

4. When the wastewater treatment process causes nitrification which affects the BOD5 reading, the permittee can petition the department to substitute carbonaceous BOD5 in lieu of regular BOD5 testing. If the department concurs that nitrification is occurring, the department will set a carbonaceous BOD5 at five milligrams per liter (5 mg/L) less than the regular BOD5 in the operating permit.

(B) Monitoring Requirements.

1. The department will develop a wastewater and sludge sampling program based on design flow and other site-specific factors. Sampling frequency shall not exceed once per day.

A. The department may establish less frequent sampling requirements for point sources that produce an effluent that does not exhibit high variability and consistently complies with the applicable effluent limit; and

B. Sludge sampling will be established in the permit.

2. Unless otherwise specified in the operating permit, sample types shall be—

A. Grab samples for lagoons and recirculating media beds;

B. Twenty-four- (24-) hour composite samples for mechanical plants; and

C. Sludge samples shall be grab samples unless otherwise specified in the operating permit.

3. The monitoring frequency and sample types stated in paragraphs (8)(B)1. through 2. of this rule are minimum requirements.

(9) General Conditions.

(A) Establishing Effluent Limitations. Unless a formal variance from water quality standards has been approved by the Clean Water Commission and the U.S. Environmental Protection Agency, operating permits issued under 10 CSR 20-6.010(7) shall include, if applicable, the most protective limits set forth as follows:

1. Technology-based effluent limits and standards based on specific requirements under sections (2) through (8) of this rule;

2. Water quality-based effluent limits based on a waste load allocation in accordance with federal regulations (40 CFR 122.44(d)(1)), which would address pollutants that have a reasonable potential to cause or contribute to an excursion above Water Quality Standards established in 10 CSR 20-7.031.

A. Local effluent and receiving water data may be used to develop site-specific effluent limits provided the department determines that this data is representative and 10 CSR 20-7.031 provides for their development.

B. Water quality-based effluent limitations incorporating mixing zones and zones of initial dilution as provided for in 10 CSR 20-7.031(5)(A)4.B. may be based on stream flows other than critical low-flow conditions, if the following conditions are met:

(I) The limits are protective of critical low-flow conditions, as well as higher flow conditions; and

(II) The permit shall require in-stream flow measurements and methods to determine compliance;

3. Effluent limit guidelines or standards that have been federally promulgated under Sections 301, 304, 306, 307, 318, and 405 of the Clean Water Act and case-by-case determinations of technology-based effluent limitations under section 402(a)(1) of the Clean Water Act;

4. Effluent limits for discharges subject to a total maximum daily load (TMDL) necessary to achieve water quality standards, including permit limits in lieu of a TMDL. Permit limitations consistent with the requirements and assumptions of an approved waste load allocation within a TMDL shall be placed in permits as needed. Permits may include schedules of compliance and, if developed, follow TMDL implementation plans, adaptive management approaches, or other flexibilities so long as they are allowed by federal regulation. The department may reopen existing permits to implement TMDL requirements;

5. Effluent limits that are developed through the antidegradation review process, provided there is reasonable potential to exceed these limits;

6. Effluent limits that are required as a result of legal agreements between dischargers and the department or the Clean Water Commission, or as otherwise required or allowed by law; and

7. Compliance with permit limits established in accordance with subsections (3)(E) and (3)(F) or paragraphs (9)(A)4. and 5. of this rule can be achieved though total phosphorus and total nitrogen nutrient credit trading conducted in accordance with subparagraph (9)(B)2.E.

(B) Bacteria and Statewide Nutrient Limits. Operating permits as required under 10 CSR 20-6.010(7) shall include, if applicable, the following bacteria and nutrient limits:

1. Bacteria. The following water quality Escherichia coli (E. coli) discharge limits apply:

A. Discharges to stream segments designated in Table H of 10 CSR 20-7.031 for whole body contact recreation and secondary contact recreation shall not exceed the water quality E. coli counts established in subsection (5)(C) of 10 CSR 20-7.031;

B. Discharges to lakes designated as whole body contact recreational or secondary contact recreational in Table G of 10 CSR 20-7.031 shall not exceed the water quality E. coli counts established in subsection (5)(C) of 10 CSR 20-7.031;

C. Discharges located within two (2) miles upstream of stream segments or lakes designated for whole body contact recreational or secondary contact recreational in Tables H and G of 10 CSR 20-7.031 shall not exceed the water quality E. coli counts established in subsection (5)(C) of 10 CSR 20-7.031 for the receiving stream segment or lake designated for those uses;

D. E. coli limits. During the recreation season, discharges to waters designated for whole body contact “A” as defined in part (1)(C)2.A.(I) of 10 CSR 20-7.031 shall be limited to one hundred twenty-six (126) colony forming units per one hundred (100) milliliters (ml) expressed as a monthly geometric mean for POTWs and non-POTWs. During the recreation season, discharges to waters designated for whole body contact “B” as defined in part (1)(C)2.A.(II) of 10 CSR 20-7.031 shall be limited to two hundred six (206) colony forming units per one hundred (100) ml expressed as a monthly geometric mean for POTWs and non-POTWs. During the recreation season, discharges to waters designated for secondary contact recreational as defined in subparagraph (1)(C)2.B. of 10 CSR 20-7.031 shall be limited to one thousand one hundred thirty-four (1,134) colony forming units per one hundred (100) ml expressed as a monthly geometric mean for POTWs and non-POTWs. For the entire calendar year, discharges to waters that are defined by paragraph (1)(B)3. of this rule as losing streams shall be limited to one hundred twenty-six (126) colony forming units per one hundred (100) ml expressed as a daily maximum;

E. Short-term E. coli limits. Short-term effluent limitations shall be expressed as a daily maximum for non-POTWs and as a weekly geometric mean for POTWs. Short-term effluent limitations for discharges to waters designated for whole body contact “A” and “B” as well as those designated for secondary contact recreation shall be derived by multiplying the monthly geometric mean effluent limitations identified in subparagraph (9)(B)1.D. of this rule by a factor of five (5), except that alternative multipliers may be utilized to calculate short-term E. coli limitations when proposed and incorporated into permits. At no time shall using alternative multipliers in short-term effluent limitations cause or contribute to an excursion of the in-stream water quality criteria;

F. As an alternative to the limits prescribed in subparagraphs (9)(B)1.A. through E. of this rule, the department may allow permit applicants to conduct a study to develop E. coli limits that reflect pathogen decay. Prior to conducting this study applicants shall submit a quality assurance project plan for approval prior to the study, and submit all findings as part of their permit application; and

G. Notwithstanding the bacteria limits prescribed in subparagraphs (9)(B)1.A. through F. of this rule, discharges to losing streams shall be considered in compliance so long as no more than ten (10) percent of samples exceed one hundred twenty-six (126) colony forming units per one hundred (100) ml daily maximum;

2. Nutrient reduction targets and trading. This rule establishes nutrient reduction targets implementing part of the Missouri Nutrient Loss Reduction Strategy to contribute to a statewide reduction in total phosphorus.

A. Total phosphorus. The following total phosphorus target reduction levels apply to all domestic point sources with a design flow of greater than or equal to 1,000,000 gallons per day (MGD) and all industrial facilities categorized as major that typically discharge phosphorus in their industrial wastewater, except for point sources subject to total phosphorus effluent limitations identified in subsections (3)(E) and (3)(F) or paragraphs (9)(A)4. and 5. of this rule or where a more stringent limit has been established in accordance with other provisions of this rule, and shall be implemented as follows:

(I) Total phosphorus target level of one milligrams per liter (1.0 mg/L), as an annual average; or

(II) Total phosphorus annual mass loading target level equal to one milligram per liter (1.0 mg/L) based on the design flow. Combined sewer systems may request alternative considerations or calculations, if approved in an operating permit; or

(III) An overall reduction of total phosphorus from influent to effluent by seventy-five percent (75%) based on a one- (1-) time calculation of two (2) years of representative monitoring or process influent and effluent data; or

(IV) An overall reduction of annual load of total phosphorus discharged by seventy-five percent (75%) based on a one- (1-) time calculation of adequately representative effluent data; and

(V) The assessment of compliance with these levels will be based on actual flows annually, but monthly monitoring and reporting of the rolling annual average will be conducted;

B. Total nitrogen. Reserved;

C. Total phosphorus and total nitrogen. Facilities that elect to implement treatment for total phosphorus and total nitrogen simultaneously shall establish a nitrogen target reduction level and may request alternative implementation dates in accordance with subparagraph (9)(B)2.D of this rule;

D. Total phosphorus target reduction levels established in subparagraph (9)(B)2.A. must be implemented no later than the dates below, unless the department approves alternative implementation dates, which must be established in an operating permit:

(I) By January 1, 2029, for domestic point sources with facility design flows greater than 15MGD;

(II) By January 1, 2033, for domestic point sources with facility design flows greater than or equal to 1MGD but less than 15MGD;

(III) By January 1, 2034, for industrial facilities;

(IV) Alternative implementation dates may be requested based on the following:

(a) Affordability analysis per section 644.145, RSMo;

(b) Integrated management plans;

(c) Expected regionalization plans;

(d) The cost of implementing the pollution control measures to comply would cause undue financial burden to the facility or its indirect dischargers;

(e) A department-approved Nutrient Reduction Master Plan that includes a facility assessment and plans to reduce both phosphorus and nitrogen; or

(f) Facilities included in an aggregate assessment or allocation for multiple point sources;

E. Nutrient trading and credit generation. Nutrient credits may be used to comply with the target reduction levels of subparagraph (9)(B)2.A. of this rule. Nutrient credits may be used to comply with nutrient limits established in accordance with subsections (3)(E) or (3)(F) or paragraph (9)(A)4. or (9)(A)5. of this rule. Nutrient credits may be generated—

(I) In accordance with a permittee’s Nonpoint Source Credit Generation Plan or Point Source Trade Plan, approved by the department and incorporated into the operating permit;

(II) Through early compliance with the nutrient target reduction levels established with this paragraph. Facilities may track and trade nutrient reductions achieved prior to January 1, 2029, with department approval; or

(III) Through use of an approved aggregate assessment and allocation for multiple point sources.

(C) Schedules of Compliance.

1. Compliance with new or revised National Pollutant Discharge Elimination System (NPDES) or Missouri operating permit limitations shall be achieved and in accordance with the federal regulation 40 CFR Part 122.47 “Schedules of Compliance,” May 15, 2000, as published by the Office of the Federal Register, National Archives and Records Administration, Superintendent of Documents, Pittsburgh, PA 15250-7954, which is hereby incorporated by reference and does not include later amendments or additions.

2. A compliance schedule may be modified in accordance with the federal regulation 40 CFR 122.62 “Modification or revocation and reissuance of permits,” November 20, 2008, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions.

(D) Monitoring, Analysis, and Reporting.

1. All construction and operating permit holders shall submit reports at intervals established by the permit or at any other reasonable intervals required by the department. The monitoring and analytical schedule shall be as established by the department in the operating permit.

2. The analytical and sampling methods used must conform to federal regulation 40 CFR Part 136.3 “Identification of test procedures,” August 28, 2017, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which is hereby incorporated by reference and does not include later amendments or additions.

3. Approval of alternative test procedures shall follow the criteria set forth in federal regulation 40 CFR 136.4 “Application for and approval of alternate test procedures for nationwide use,” August 28, 2017, as published by the Office of the Federal Register, National Archives and Records Administration, Washington, DC 20408, or federal regulation 40 CFR 136.5 “Approval of alternate test procedures for limited use,” August 28, 2017, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which are incorporated by reference and do not include later amendments or additions.

4. Sampling and analysis by the department to determine violations of this regulation will be conducted in accordance with the methods listed in paragraph (9)(D)2. of this rule or any other approved by the department. Violations may also be determined by review of the permittee’s self-monitoring reports.

5. If, for any reason, the permittee does not comply with or will be unable to comply with any discharge limitations or standards specified in the permit, the permittee shall provide the department with the following information, with the next discharge monitoring report as required under subsection (9)(D) of this rule:

A. A description of the discharge and cause of noncompliance;

B. The period of noncompliance, including exact dates and times and/or the anticipated time when the discharge will return to compliance; and

C. The steps being taken to reduce, eliminate, and prevent recurrence of the noncompliance.

6. In the case of any discharge subject to any applicable toxic pollutant effluent standard under Section 307(a) of the federal Clean Water Act, the information required by paragraph (9)(D)5. of this rule regarding a violation of this standard shall be provided within twenty-four (24) hours from the time the owner or operator of the water contaminant source, point source, or wastewater treatment facility becomes aware of the violation or potential violation. This information may be provided via an electronic web-based system developed by the department, provided it is available. If this information is provided orally, a written submission covering these points shall be provided within five (5) working days of the time the owner or operator of the water contaminant source, point source, or wastewater treatment facility becomes aware of the violation.

7. Bacteria monitoring for disinfection.

A. For systems that have a design capacity of greater than one hundred thousand (100,000) gpd, a minimum of one (1) sample shall be collected for E. coli analysis each calendar week during the recreational season from April 1 through October 31. Compliance with the E. coli water quality standard established in subsection (5)(C) of 10 CSR 20-7.031 shall be determined each calendar month by calculating the geometric mean of all of the samples collected each calendar month. Compliance with the short-term E. coli limits established in subparagraph (9)(B)1.E. of this rule shall also be determined.

B. For systems that discharge to stream segments that are defined by paragraph (1)(B)3. as losing streams and have a design capacity of greater than one hundred thousand (100,000) gpd, a minimum of one (1) sample shall be collected for E. coli analysis each calendar week all year. Compliance with the E. coli water quality standard established in subsection (5)(C) of 10 CSR 20-7.031 and with the short term E. coli limits established in subparagraph (9)(B)1.E. of this rule shall also be determined.

C. For systems that have a design capacity of one hundred thousand (100,000) gpd or less, the sampling frequency for E. coli analysis shall be in accordance with the wastewater and sludge sampling program based on the design flow which is dependent upon the receiving water category as listed in subsection (1)(B) of this rule. Compliance with the E. coli water quality standard established in subsection (5)(C) of 10 CSR 20-7.031 shall be determined each calendar month by calculating the geometric mean of all of the samples collected each calendar month. Compliance with the short-term E. coli limits established in subparagraph (9)(B)1.E. of this rule shall also be determined.

8. Statewide monitoring for nutrients. Point sources that have the design capacity of greater than one hundred thousand (100,000) gpd that typically discharge nitrogen and phosphorus shall collect and analyze influent and effluent samples for total phosphorus, ammonia, total kjeldahl nitrogen and nitrate plus nitrite utilizing methods outlined in paragraph (D)2. of this section using the following frequencies:

A. Quarterly for facilities with design capacities greater than one hundred thousand (100,000) gpd and less than 1,000,000 gpd for a period up to five (5) years. The department may require additional monitoring to ascertain a discharge’s nutrient contribution and the efficacy of the treatment technology as it pertains to nutrient removal.

B. Monthly for facilities with design capacities greater than or equal to 1,000,000 gpd for a period up to five (5) years. The department may require additional monitoring to ascertain a discharge’s nutrient contribution and the efficacy of the treatment technology as it pertains to nutrient removal.

C. The department may impose ongoing or more frequent monitoring in permits that impose effluent limits for total nitrogen or total phosphorus or in situations in which monitoring is appropriate to ensure compliance with water quality standards, specific lake limits, or nutrient reduction target levels specified under subsections (3)(E) and (F) and paragraph (9)(B)2. of this rule.

(E) Dilution Water. Dilution of treated wastewater with cooling water or other less contaminated water to lower the effluent concentration to limits required by an effluent regulation of the Clean Water Law shall not be an acceptable means of treatment.

(F) Compliance with New Source Performance Standards.

1. Except as provided in paragraph (9)(F)2. of this rule, any new water contaminant source, point source, or wastewater treatment facility on which construction commenced after October 18, 1972, or any new source, which meets the applicable promulgated new source performance standards before the commencement of discharge, shall not be subject to any more stringent new source performance standards or to any more stringent technology-based standards under subsection 301(b)(2) of the federal Clean Water Act for the shortest of the following periods:

A. Ten (10) years from the date that construction is completed;

B. Ten (10) years from the date the source begins to discharge process or other nonconstruction related wastewater; or

C. The period of depreciation or amortization of the facility for the purposes of section 167 or 169 (or both) of the Internal Revenue Code of 1954.

2. The protection from more stringent standards of performance afforded by paragraph (9)(F)1. of this rule does not apply to—

A. Additional or more stringent permit conditions which are not technology based, for example, conditions based on water quality standards or effluent standards or prohibitions under Section 307(a) of the federal Clean Water Act; and

B. Additional permit conditions controlling pollutants listed as toxic under Section 307(a) of the federal Clean Water Act or as hazardous substances under Section 311 of the federal Clean Water Act and which are not controlled by new source performance standards. This exclusion includes permit conditions controlling pollutants other than those identified as hazardous where control of those other pollutants has been specifically identified as the method to control the hazardous pollutant.

(G) Bypass. Bypass means the intentional diversion of waste streams from any portion of a treatment facility, except in the case of blending. Severe property damage means substantial physical damage to property, damage to the treatment facilities which causes them to become inoperable, or substantial and permanent loss of natural resources which can reasonably be expected to occur in the absence of a bypass. Severe property damage does not mean economic loss caused by delays in production. Blending is the practice of diverting wet-weather flows around any treatment unit and recombining those flows within the treatment facility, while providing primary and secondary or biological treatment up to the available capacity, consistent with all applicable effluent limits and conditions. Stipulations regarding bypass allowances, prohibitions, and reporting requirements shall comply with federal regulation 40 CFR 122.41 “Conditions applicable to all permits” (applicable to state programs; See section 123.25), October 22, 2015, as published by the Office of the Federal Register, National Archives and Records Administration, 700 Pennsylvania Avenue, Washington, DC 20408, which are incorporated by reference and do not include later amendments or additions.

(H) Sludge facilities shall meet the applicable control technology for sewage sludge treatment, use, and disposal as published by the EPA in 40 CFR 503 and applicable state standards and limitations published in 10 CSR 20 and 10 CSR 80. Where there are no standards available or applicable, or when more stringent standards are appropriate to protect human health and the environment, the department shall set specific limitations in permits on a case-by-case basis using best professional judgment.

(I) Industrial, agricultural, and other nondomestic water contaminant sources, point sources, or wastewater treatment facilities which are not included under subsections (2)(A) or (8)(A) of this rule—

1. These facilities shall meet the applicable control technology currently effective as published by the EPA in 40 CFR 405–471. Where there are no standards available or applicable, the department shall set specific parameter limitations using best professional judgment. The pH shall be maintained in the range from six to nine (6–9) standard units, except that discharges of uncontaminated cooling water and water treatment plant effluent may exceed nine (9) standard units, but may not exceed ten and one-half (10.5) standard units, if it can be demonstrated that the pH will not exceed nine (9) standard units beyond the regulatory mixing zone; and

2. All precipitation collected in the operational containment area or secondary containment area as well as process generated wastewater shall be stored and disposed of in a no-discharge manner or treated to meet the applicable control technology referenced in paragraph (9)(I)1. of this rule.

(J) Implementation Schedule for Protection of Whole Body Contact and Secondary Contact Recreation.

1. For discharges to water bodies designated for whole body contact and secondary contact recreational use prior to July 1, 2012, in 10 CSR 20-7.031, permits shall insure compliance with effluent limits to protect whole body contact and secondary contact recreation by no later than December 31, 2013, unless the permittee presents an evaluation sufficient to show that disinfection is not required to protect one (1) or both designated recreational uses, or a UAA demonstrates that one (1) or both designated recreational uses are not attainable in the classified waters receiving the effluent.

2. For discharges to water bodies designated for whole body contact and secondary contact recreational use after June 30, 2012, in 10 CSR 20-7.031, permits shall include schedules of compliance to meet bacteria limits in accordance with subsection (9)(C) of this rule.

(K) Temporary Suspension of Accountability for Bacteria Standards during Wet Weather. The accountability for bacteria standards may be temporarily suspended for specific discharges when conditions contained in paragraphs (9)(K)1. through 3. of this rule are met.

1. No existing recreational uses downstream of the discharge will be impacted during the period of suspension as confirmed through a water quality review for reasonable potential for downstream impacts and a UAA performed in accordance with the Missouri Recreational Use Attainability Analysis Protocol approved by the Missouri Clean Water Commission.

2. The period of suspension must be restricted to the defined wet weather event that corresponds to the period when recreational uses are unattainable. The period must be determinable at any time by the discharger and the general public (such as from stream depth or flow readings or other stream conditions on which publicly accessible records are kept).

3. The suspension shall be subject to public review and comment, Missouri Clean Water Commission approval, and EPA approval before becoming effective and shall be contained as a condition in a discharge permit or other written document developed through public participation.

(L) Whole Effluent Toxicity (WET) Test. The following are permit requirements for acute and chronic WET tests:

1. WET tests are to be conducted according to the methods prescribed in 40 CFR 136.3;

2. Test Types.

A. Acute WET tests shall be a multiple dilution series, static, non-renewal test to determine the degree at which acute forty-eight to ninety-six hour (48–96 hour) exposure to the effluent is acutely toxic to aquatic life expressed in species survival.

B. Chronic WET test shall be a multiple dilution series, static, renewal test to determine the degree at which chronic (sublethal) exposure to the effluent is toxic to aquatic life or affects an alternative endpoint such as species reproduction and/or growth. Duration of chronic WET tests shall be established according to 40 CFR 136.3 “Identification of test procedures,” promulgated as of July 1, 2011, and hereby incorporated by reference in this rule, as published by the Office of the Federal Register, U.S. National Archives and Records, 700 Pennsylvania Avenue NW, Washington, DC 20408. This rule does not incorporate any subsequent amendments or additions;

3. Applicability. WET test type and frequency shall be determined and expressed in permits by the department. At permit issuance or reissuance, the department will use valid and representative data to establish on a case-by-case basis, whether an existing discharge causes, has the reasonable potential to cause, or contributes to an excursion from the narrative water quality criteria. Where the department concludes that a discharge has the reasonable potential to contribute to an excursion from the narrative water quality criteria, as established in 10 CSR 20-7.031, the permit will include WET limits. If the department determines the facility has no reasonable potential to violate water quality standards, WET testing may be removed, or if more information is required, WET testing may be retained at a reduced frequency. WET test applicability for NPDES permits shall be fully addressed in the permit factsheet; and

4. Specifications.

A. A dilution series shall be established in the permit for WET test. The dilution series shall be a set of proportional effluent dilutions based on an Allowable Effluent Concentration (AEC).

B. All WET tests shall be performed with Pimephales promelas (a fathead minnow) and Ceriodaphnia dubia (a water flea), except facilities which discharge to receiving streams designated as cold-water fisheries. Facilities which discharge to receiving streams designated as cold-water fisheries may be required to perform WET tests using Oncorhynchus mykiss (rainbow trout) instead of the fathead minnow. Other test species for which test methods are provided in 40 CFR 136.3 may be approved by the department on a case-by-case basis provided the species are appropriately sensitive and representative. Alternative species (not included in 40 CFR 136.3) shall be approved in accordance with the procedures in 40 CFR 136.4. Application for alternate test procedures, promulgated as of August 28, 2017, is hereby incorporated by reference in this rule, as published by the Office of the Federal Register, U.S. National Archives and Records, 700 Pennsylvania Avenue NW, Washington, DC 20408. This rule does not incorporate any subsequent amendments or additions.

C. A Toxic Unit (TU) water quality based limit shall be established in the permit for WET test where the department concludes that a discharge has the reasonable potential to cause or contribute to an excursion from the narrative water quality criteria as established in 10 CSR 20-7.031(4)(D). The TU limit shall be determined in accordance with 40 CFR 122.44(d)(1)(v) and utilizing the methods established in Technical Support Document For Water Quality-based Toxics Control (March 1991, EPA, EPA/505/2-90-001) and documented in the factsheet. Exceedance of a TU limit shall be a WET test failure.

D. Upon completion of a WET test the lab report and department form as referenced in the permit shall be submitted by the permittee to the department within the timeframe established by the permit.

(10) Control of Combined Sewer Overflows (CSOs). The permitting and control of CSOs shall conform to EPA’s CSO Control Policy, EPA Number 830/B-94-001 (published by EPA April 19, 1994, at 59 Fed. Reg. 18688), as referenced by Section 402 (q) of the Clean Water Act, 33 USC 1342(q). The CSO Control Policy is hereby incorporated by reference, without any later amendments or additions. This document is available by writing to U.S. Environmental Protection Agency, Office of Water Resource Center, Mail Code RC-4100T, 1200 Pennsylvania Avenue NW, Washington, DC 20460 or upon request from the Department of Natural Resources, Water Protection Program, Water Pollution Control Branch, PO Box 176, Jefferson City, MO 65102-0176. Effluent monitoring commitments for CSOs shall be addressed in the long term control plans required under EPA’s CSO Control Policy.

AUTHORITY: section 644.026, RSMo 2016.* Original rule filed June 6, 1974, effective June 16, 1974. Amended: Filed April 1, 1975, effective April 11, 1975. Rescinded: Filed Oct. 16, 1979, effective July 11, 1980. Readopted: Filed Feb. 4, 1980, effective July 11, 1980. Rescinded and readopted: Filed Nov. 10, 1982, effective May 12, 1983. Amended: Filed Sept. 11, 1984, effective March 12, 1985. Amended: Filed July 25, 1985, effective Dec. 26, 1985. Amended: Filed Feb. 1, 1988, effective June 13, 1988. Amended: Filed Sept. 13, 1988, effective Feb. 14, 1989. Amended: Filed July 15, 1991, effective Jan. 13, 1992. Amended: Filed Sept. 2, 1993, effective May 9, 1994. Amended: Filed March 1, 1999, effective Nov. 30, 1999. Amended: Filed Dec. 30, 1999, effective Sept. 30, 2000. Amended: Filed March 31, 2005, effective Dec. 31, 2005. Amended: Filed Sept. 28, 2009, effective June 30, 2010. Amended: Filed May 15, 2013, effective Feb. 28, 2014. Amended: Filed June 15, 2018, effective Feb. 28, 2019. Amended: Filed March 1, 2023, effective Oct. 30, 2023.

*Original authority: 644.026, RSMo 1972, amended 1973, 1987, 1993, 1995, 2000, 2012, 2014.

10 CSR 20-7.020 Effluent Regulations

(Rescinded July 10, 1980)

AUTHORITY: section 204.026, RSMo 1978. Original rule filed June 6, 1974, effective Jue 16, 1974. Amended: Filed April 1, 1975, effective April 11, 1975. Rescinded: Filed Oct. 12, 1979, effective July 10, 1980.

10 CSR 20-7.030 Water Quality Standards

(Rescinded December 11, 1977)

AUTHORITY: sections 204.021 and 204.026, RSMo Supp. 1973. Rescinded: effective Dec. 11, 1977.

10 CSR 20-7.031 Water Quality Standards

PURPOSE: This rule identifies uses of waters of the state, criteria to protect those uses, and defines the antidegradation policy. It is developed in response to the Missouri Clean Water Law and the federal Clean Water Act, Section 303(c)(1) and (2), which requires that state water quality standards be reviewed at least once every three (3) years. These revisions are pursuant to the national goal of protection of fish, shellfish, and wildlife and recreation in and on the water as outlined in Section 101(a)(2) of the Act.

PUBLISHER’S NOTE:  The secretary of state has determined that the publication of the entire text of the material which is incorporated by reference as a portion of this rule would be unduly cumbersome or expensive.  This material as incorporated by reference in this rule shall be maintained by the agency at its headquarters and shall be made available to the public for inspection and copying at no more than the actual cost of reproduction. This note applies only to the reference material. The entire text of the rule is printed here.

(1) Definitions.

(A) Acute toxicity—Conditions producing adverse effects or lethality on aquatic life following short-term exposure. The acute criteria in Tables A1, A2, and B1 are maximum concentrations which protect against acutely toxic conditions. Acute toxicity is also indicated by exceedence of whole-effluent toxicity (WET) test conditions of paragraph (4)(J)2. For substances not listed in Tables A1, A2, and B1, three-tenths (0.3) of the median lethal concentration, or the no observed acute effect concentration for representative species, may be used to determine absence of acute toxicity.

(B) Aquifer—A subsurface water-bearing bed or stratum which stores or transmits water in recoverable quantities that is currently being used or could be used as a water source for private or public use. It does not include water in the vadose zone.

(C) Biocriteria—Numeric values or narrative expressions that describe the reference biological integrity of aquatic communities inhabiting waters that have been designated for aquatic-life protection.

(D) Chronic toxicity—Conditions producing adverse effects on aquatic life or wildlife following long-term exposure but having no readily observable effect over a short time period. Chronic numeric criteria in Tables A1, A2, B2, and B3 are maximum concentrations which protect against chronic toxicity; these values shall be considered four- (4-) day averages, with the exception of total ammonia as nitrogen which shall be considered a thirty- (30-) day average. Chronic toxicity is also indicated by exceedence of WET test conditions of subsection (5)(Q). For substances not listed in Tables A1, A2, B2, and B3, commonly used endpoints such as the no-observed effect concentration or inhibition concentration of representative species may be used to demonstrate absence of toxicity.

(E) Class—All waters in the Missouri Use Designation Dataset at (1)(Q) of this rule shall have a hydrologic class. During normal flow periods, some rivers back water into tributaries which do not otherwise have a hydrologic class. These permanent backwater areas are considered to have the same hydrologic class as the water body into which the tributary flows.

1. Class L1—Lakes used primarily for public drinking water supply.

2. Class L2—Major reservoirs.

3. Class L3—Other lakes which are waters of the state. These include both public and private lakes. For effluent regulation purposes, publicly-owned L3 lakes are those for which a substantial portion of the surrounding lands are publicly owned or managed.

4. Class P—Streams that maintain permanent flow even in drought periods.

5. Class P1—Standing-water reaches of Class P streams.

6. Class C—Streams that may cease flow in dry periods but maintain permanent pools which support aquatic life.

7. Class E—Streams that do not maintain permanent surface flow or permanent pools, but have ephemeral surface flow or pools in response to precipitation events.

8. Class W—Wetlands that are waters of the state that meet the criteria in the Corps of Engineers Wetlands Delineation Manual (January 1987), and subsequent federal revisions and supplements. Class W waters do not include wetlands that are artificially created on dry land and maintained for the treatment of mine drainage; stormwater control; or drainage associated with road construction, industrial, municipal, or agricultural waste.

(F) Designated uses—Uses specified for each water body whether or not they are being attained. Uses are designated according to section (2) of this rule and include, but are not limited to:

1. Protection and propagation of fish, shellfish, and wildlife. Streams will be designated to one (1) of the following aquatic habitat protection uses based on watershed size, scale within the stream network, and other hydrological and physical data. Lakes and reservoirs will be designated to one (1) of the following aquatic habitat protection uses based on limnological characteristics (such as temperature) and biological assemblages;

A. Warm Water Habitat (WWH)—Waters in which naturally-occurring water quality and habitat conditions allow the maintenance of a wide variety of warm-water biota—

(I) Great River;

(II) Large River;

(III) Small River;

(IV) Creek;

(V) Headwater; or

(VI) Lake or reservoir;

B. Cool Water Habitat (CLH)—Waters in which naturally-occurring water quality and habitat conditions allow the maintenance of a wide variety of cool-water biota. These waters can support a sensitive, high-quality sport fishery (i.e., smallmouth bass and rock bass)—

(I) Large River;

(II) Small River;

(III) Creek;

(IV) Headwater; or

(V) Lake or reservoir;

C. Cold Water Habitat (CDH)—Waters in which naturally-occurring water quality and habitat conditions allow the maintenance of a wide variety of cold-water biota. These waters can support a naturally reproducing or stocked trout fishery and populations of other cold-water species—

(I) Large River;

(II) Small River;

(III) Creek;

(IV) Headwater; or

(V) Lake or reservoir;

D. Ephemeral Aquatic Habitat (EAH)—Waters having surface flow or pools in response to precipitation events or snow melt, but without permanent surface flow or permanent pools; naturally-occurring water quality and habitat conditions may allow the maintenance of a limited or transient community of aquatic biota;

E. Modified Aquatic Habitat (MAH)—Waters in which natural habitat conditions have been physically, chemically, or biologically modified; habitat and resulting water quality conditions may prevent the maintenance of a wide variety or diversity of aquatic biota; and

F. Limited Aquatic Habitat (LAH)—Waters in which natural habitat conditions have been substantially and irretrievably altered; habitat and resulting water quality conditions do not allow maintenance of aquatic biota, or if present, the community is of poor variety or diversity;

2. Recreation in and on the water. Assignment of these uses does not grant an individual the right to trespass.

A. Whole body contact recreation (WBC)—Activities involving direct human contact with waters of the state to the point of complete body submergence. The water may be ingested accidentally and certain sensitive body organs, such as the eyes, ears, and the nose, will be exposed to the water. Although the water may be ingested accidentally, it is not intended to be used as a potable supply unless acceptable treatment is applied. Waters so designated are intended to be used for swimming, water skiing, or skin diving.

(I) Category A (WBC-A)—This category applies to waters that have been established by the property owner as public swimming areas welcoming access by the public for swimming purposes and waters with documented existing whole body contact recreational use(s) by the public. Examples of this category include, but are not limited to: public swimming beaches and property where whole body contact recreational activity is open to and accessible by the public through law or written permission of the landowner.

(II) Category B (WBC-B)—This category applies to waters designated for whole body contact recreation not contained within category A.

B. Secondary contact recreation (SCR)—Uses include fishing, wading, commercial and recreational boating, any limited contact incidental to shoreline activities, and activities in which users do not swim or float in the water. These recreational activities may result in contact with the water that is either incidental or accidental and the probability of ingesting appreciable quantities of water is minimal;

3. Human health protection (HHP)—Criteria to protect this use are based on the assumption of an average amount of fish consumed on a long-term basis. Protection of this use includes compliance with Food and Drug Administration (FDA) limits for fish tissue, maximum water concentrations corresponding to the 10-6 cancer risk level, and other human health fish consumption criteria;

4. Irrigation (IRR)—Application of water to cropland or directly to cultivated plants that may be used for human or livestock consumption. Occasional supplemental irrigation, rather than continuous irrigation, is assumed;

5. Livestock and wildlife protection (LWP)—Maintenance of conditions in waters to support health in livestock and wildlife;

6. Drinking water supply (DWS)—Maintenance of a raw water supply which will yield potable water after treatment by public water treatment facilities;

7. Industrial water supply (IND)—Water to support various industrial uses; since quality needs will vary by industry, no specific criteria are set in these standards;

8. Storm- and flood-water storage and attenuation (WSA)—Wetlands and other waters which serve as overflow and storage areas during flood or storm events slowly release water to downstream areas, thus lowering flood peaks and associated damage to life and property;

9. Habitat for resident and migratory wildlife species, including rare and endangered species (WHP)—Wetlands and other waters that provide essential breeding, nesting, feeding, and predator escape habitats for wildlife including waterfowl, birds, mammals, fish, amphibians, and reptiles;

10. Recreational, cultural, educational, scientific, and natural aesthetic values and uses (WRC)—Wetlands and other waters that serve as recreational sites for fishing, hunting, and observing wildlife; waters of historic or archaeological significance; waters which provide great diversity for nature observation, educational opportunities, and scientific study; and

11. Hydrologic cycle maintenance (WHC)—Wetlands and other waters hydrologically connected to rivers and streams serve to maintain flow conditions during periods of drought. Waters that are connected hydrologically to the groundwater system recharge groundwater supplies and assume an important local or regional role in maintaining groundwater levels.

(G) Early life stages of fish—The pre-hatch embryonic period, the post-hatch free embryo or yolk-sac fry, and the larval period during which the organism feeds. Juvenile fish, which are anatomically rather similar to adults, are not considered an early life stage.

(H) Ecoregion—Ecoregions denote areas of general similarity in ecosystems and in the type, quality, and quantity of environmental resources. They are designed to serve as a spatial framework for the research, assessment, management, and monitoring of ecosystems and ecosystem components. By recognizing the spatial differences in the capacities and potentials of ecosystems, ecoregions stratify the environment by its probable response to disturbance (Bryce, Omernik, and Larsen, 1999).

(I) Epilimnion—Zone of atmospheric mixing in a thermostratified lake.

(J) Escherichia coli (E. coli)—A type of fecal coliform bacteria found in the intestines of animals and humans. The presence of E. coli in water is a strong indication of recent sewage or animal waste contamination. Sewage may contain many types of disease-causing organisms (pathogens).

(K) Eutrophication—The process by which a body of water becomes enriched in dissolved nutrients, such as nitrogen and phosphorus, that stimulate the excessive growth of algae and other plants. Eutrophication may be accelerated by human activities.

(L) Existing uses—Those uses actually attained in the water body on or after November 28, 1975, whether or not they are identified in the water quality standards.

(M) Hypolimnion—Zone beneath the zone of atmospheric mixing in a thermostratified lake.

(N) Lethal concentration50 (LC50)—Concentration of a toxicant which would be expected to kill fifty percent (50%) of the individuals of the test species organisms in a test of specified length of time.

(O) Losing stream—A stream which distributes thirty percent (30%) or more of its flow during low flow conditions through natural processes, such as through permeable geologic materials into a bedrock aquifer within two (2) miles flow distance downstream of an existing or proposed discharge. Flow measurements to determine percentage of water loss must be corrected to approximate the 7Q10 stream flow. If a stream bed or drainage way has an intermittent flow or a flow insufficient to measure in accordance with this rule, it may be determined to be a losing stream on the basis of channel development, valley configuration, vegetation development, dye tracing studies, bedrock characteristics, geographical data, and other geological factors. Losing streams are identified in the digital geospatial dataset ‘LOSING_STREAM’ developed by the Missouri Department of Natural Resources, Missouri Geological Survey; additional streams may be determined to be losing by the Missouri Department of Natural Resources.

(P) Low-flow conditions—Where used in this regulation in the context of mixing zones, the low-flow conditions shall refer to the minimum amount of stream flow occurring immediately upstream of a wastewater discharge and available, in whole or in part, for attenuation of wastewater pollutants.

1. Seven- (7-) day, one- (1-) in-ten- (10-) year low flow (7Q10)—The lowest average flow for seven (7) consecutive days that has a probable recurrence interval of once-in-ten (10) years.

2. Sixty- (60-) day, one- (1-) in-two- (2-) year low flow (60Q2)—The lowest average flow for sixty (60) consecutive days that has a probable recurrence interval of once-in-two (2) years.

3. Thirty- (30-) day, one- (1-) in-ten- (10-) year low flow (30Q10)—The lowest average flow for thirty (30) consecutive days that has a probable recurrence interval of once-in-ten (10) years.

4. One- (1-) day, one- (1-) in-ten- (10-) year low flow (1Q10)—The lowest average flow for one (1) day that has a probable recurrence interval of once-in-ten (10) years.

(Q) Missouri Use Designation Dataset—A digital geospatial dataset maintained by the department and used in conjunction with geographic information systems. This dataset documents the class and locations of designated uses assigned the state’s rivers, streams, lakes, and reservoirs. The initial version of this dataset, 8-20-13 MUDD V1.0, was adopted on November 6, 2013, to reflect Tables G and H plus any additional presumptive uses described in section (2). The dataset will also include information regarding both pending and approved determinations, variances, use attainability analyses, and water quality standards revisions. The dataset uses the geospatial framework provided by the National Hydrography Dataset and is enhanced and supported by hydrological and physical information obtained through the Missouri Resource Assessment Partnership and other scientific sources. The dataset is limited in geographic extent to the state of Missouri. Current versions of the Missouri Use Designation Dataset are titled ‘STRM_CLS_USE’ and ‘LAKE_CLS_USE’ dated December 30, 2020.

(R) Mixing zone—An area of dilution of effluent in the receiving water beyond which chronic toxicity criteria must be met.

(S) National Hydrography Dataset (NHD)—A digital vector dataset used in conjunction with geographic information systems to describe the location of rivers, streams, lakes, reservoirs, and other surface water features. This dataset provides the geospatial framework for the Missouri Use Designation Dataset.

(T) Outstanding national resource waters—Waters which have outstanding national recreational and ecological significance. These waters shall receive special protection against any degradation in quality. Congressionally-designated rivers, including those in the Ozark national scenic riverways and the wild and scenic rivers system, are so designated (see Table D).

(U) Outstanding state resource waters—High quality waters with a significant aesthetic, recreational, or scientific value which are specifically designated as such by the Clean Water Commission (see Table E).

(V) Ozark streams—Streams lying within the Ozark faunal region as described in the Aquatic Community Classification System for Missouri, 1989, Aquatic Series No. 19, Missouri Department of Conservation, Jefferson City, MO 65109, which is hereby incorporated by reference and does not include any later amendments or additions. The department shall maintain a copy of the referenced documents and shall make them available to the public for inspection and copying at no more than the actual cost of reproduction.

(W) Reference lakes or reservoirs—Lakes or reservoirs determined by Missouri Department of Natural Resources to be the best available representatives of ecoregion waters in a natural condition with respect to habitat, water quality, biological integrity and diversity, watershed land use, and riparian conditions.

(X) Reference stream reaches—Stream reaches determined by the department to be the best available representatives of ecoregion waters in a natural condition, with respect to habitat, water quality, biological integrity and diversity, watershed land use, and riparian conditions.

(Y) Regulated-flow streams—A stream that derives a majority of its flow from an impounded area with a flow-regulating device.

(Z) Use Attainability Analysis (UAA)—A structured scientific assessment of the factors affecting the attainment of the use which may include physical, chemical, biological, and economic factors as described in 40 CFR 131.10(g).

(AA) Variance—A temporary modification to 10 CSR 20-7.031 that is deemed necessary in accordance with section (12) of this rule.

(BB) Water effect ratio—Appropriate measure of the toxicity of a material obtained in a site water divided by the same measure of the toxicity of the same material obtained simultaneously in a laboratory dilution water.

(CC) Water hardness—The total concentration of calcium and magnesium ions expressed as calcium carbonate. For purposes of this rule, hardness will be the median value of a representative number of samples from the water in question or from similar waters at the appropriate stream flow conditions within the same ecoregion.

(DD) Water quality criteria—Chemical, physical, and biological properties of water that are necessary to protect designated uses.

(EE) Waters of the state—As defined in section 644.016, RSMo.

(FF) Wetlands—Those areas that are inundated or saturated by surface or groundwater at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions. Wetlands generally include swamps, marshes, bogs, and similar areas. This definition is consistent with both the United States Army Corps of Engineers wetlands definition at 33 CFR 328.3(b) and the United States Environmental Protection Agency wetlands definition at 40 CFR 232.2(r).

(GG) Whole effluent toxicity tests—A toxicity test conducted under specified laboratory conditions on specific indicator organisms. To estimate chronic and acute toxicity of the effluent in its receiving stream, the effluent may be diluted to simulate the computed percent effluent at the edge of the mixing zone or zone of initial dilution.

(HH) Zone of initial dilution—A small area of initial mixing below an effluent outfall beyond which acute toxicity criteria must be met.

(II) Zone of passage—A continuous water route necessary to allow passage of organisms with no acutely toxic effects produced on their populations.

(JJ) Other definitions as set forth in the Missouri Clean Water Law and 10 CSR 20-2.010 shall apply to terms used in this rule.

(2) Designation of Uses.

(A) Rebuttable presumption. Consistent with the presumptive use protections described by 40 CFR Part 131 and section 101(a)(2) of the federal Clean Water Act, waters identified in paragraphs (2)(A)1. through (2)(A)4. of this rule shall be presumed to support the following designated uses: Aquatic habitat protection; Human health protection; Whole body contact recreation – Category B; and Secondary contact recreation, as defined in this rule. This presumption is rebuttable subject to demonstration based on use attainability analyses as described in subsection (2)(F) of this rule. Those waters are—

1. All perennial rivers and streams;

2. All streams with permanent pools;

3. All rivers and streams included within the 1:100,000 scale National Hydrography Dataset (NHD) enhanced and supported by hydrological and physical information obtained through the Missouri Resource Assessment Partnership and other scientific sources; and

4. All lakes and reservoirs that intersect the flow lines of rivers and streams identified in paragraph (2)(A)3. of this rule.

(B) Presumed Uses. All waters described in subsection (2)(A) shall also be assigned Livestock and wildlife protection and Irrigation designated uses, as defined in this rule.

(C) Other Uses. Use designations other than those mentioned in subsections (2)(A) and (2)(B) of this rule may be applied to waters identified in subsection (2)(A), Table G and Table H of this rule on a site-specific, case-by-case basis following approval by the Clean Water Commission and U.S. Environmental Protection Agency.

(D) Use Designation. Uses of waters shall be designated as follows:

1. Designated uses applied to individual water bodies or stream segments pursuant to subsections (2)(A) through (2)(C) of this rule shall include those identified in Tables G and H and in the Missouri Use Designation Dataset maintained by the department, except as described in paragraph (2)(D)3. of this rule;

2. Designated uses may be assigned on a case-by-case basis to water bodies or stream segments not otherwise represented in Tables G and H or in the Missouri Use Designation Dataset but falling within the jurisdiction of the Missouri Clean Water Law;

3. Assuming reasonable evidence, presumptive use protections described above shall not apply to water bodies without designated uses pursuant to Tables G or H prior to November 6, 2013, that meet one (1) of the following criteria:

A. Waste treatment systems, or prior converted cropland, which are excluded from the federal definition of “waters of the United States” under 40 CFR 122.2; or

B. Man-made structures which were constructed solely to treat or convey wastewater; or

C. Man-made bodies of water or structures which lack perennial flow and were constructed to treat, convey, or temporarily hold or slow stormwater following precipitation events (this may include certain structures associated with Best Management Practices such as sediment basins, wet and dry detention basins, bioretention basins, rain gardens, bioswales, etc.); or

D. Water bodies that lack jurisdiction under either the federal Clean Water Act or Missouri Clean Water Law;

4. After receiving such evidence, the department shall make a written determination regarding the applicability of the above-described presumptions, and such determination shall be subject to appeal pursuant to section 621.250, RSMo.

(E) Missouri Use Designation Dataset. The department shall maintain the geospatial dataset described in subsection (1)(P) of this rule. Future revisions to water quality standards in the State of Missouri shall be reflected in the Missouri Use Designation Dataset and shall take effect upon approval by the Clean Water Commission and U.S. Environmental Protection Agency.

(F) Use Attainability. Demonstrations of use attainability for the protection of fish, shellfish and wildlife, recreation in and on the water, or human health protection shall assess the physical, chemical, biological, economic or other factors affecting the attainment of a use pursuant to 40 CFR 131.10(g). Use attainability analyses intended for other designated uses shall be designed and implemented on a case-by-case basis. In accordance with 40 CFR 131.10(j), the following potential actions must be preceded and supported by a use attainability analysis:

1. Designation of a water body for uses that do not include the protection of fish, shellfish and wildlife, recreation in and on the water, and human health protection;

2. Removal of one (1) or more of the uses identified in paragraph 1. of this section;

3. Application of any use sub-categories for the protection of fish, shellfish and wildlife, recreation in and on the water, or human health protection which require less stringent criteria; or

4. After receiving such demonstration, the department shall make a written determination regarding the use attainability analysis, and such determination shall be subject to appeal pursuant to section 621.250, RSMo.

(3) Antidegradation. The antidegradation policy shall provide three (3) levels of protection.

(A) Tier One. Public health, existing in-stream water uses, and a level of water quality necessary to protect existing uses shall be maintained and protected.

(B) Tier Two. For all waters of the state, if existing water quality is better than applicable water quality criteria established in these rules, that existing quality shall be fully maintained and protected. Water quality may be lowered only if the state finds, after full satisfaction of the intergovernmental coordination and public participation requirements, that the lowered water quality is necessary to allow important economic and social development in the geographical area in which the waters are located. In allowing the lowering of water quality, the state shall assure that there shall be achieved the highest statutory and regulatory requirements for all new and existing point sources and all cost-effective and reasonable best management practices for nonpoint source control before allowing any lowering of water quality. This provision allows a proposed new or modified point or nonpoint source of pollution to result in limited lowering of water quality provided that—

1. The source does not violate any of the general criteria set forth in section (4) of this rule, or any of the criteria for protection of designated uses set forth in section (5) of this rule;

2. The source meets all applicable technological effluent limitations and minimum standards of design for point sources or minimum pollution control practices for nonpoint sources; and

3. The lowering of water quality, in the judgment of the department, is necessary for the accommodation of important economic and social development in the geographical vicinity of the discharge. In making a preliminary determination based on socioeconomic development considerations, the department may consider the potential for regional increases in utility rates, taxation levels, or recoverable costs associated with the production of goods or services that may result from the imposition of a strict no-degradation policy. Consideration may also be given to the possible indirect effects of a policy on per capita income and the level of employment in the geographical vicinity of the proposed pollution source. Any preliminary decision by the department to allow a limited lowering of water quality will be stated as such in a public notice issued pursuant to 10 CSR 20-6.010. Pursuant to that provision, a public hearing will be held in the geographical vicinity of the proposed pollution source, if the department determines there is significant public interest in and need for a hearing.

(C) Tier Three. There shall be no lowered water quality in outstanding national resource waters or outstanding state resource waters, as designated in Tables D and E.

(D) The three (3) levels of protection provided by the antidegradation policy in subsections (A) through (C) of this section shall be implemented according to procedures hereby incorporated by reference and known as the “Missouri Antidegradation Rule and Implementation Procedure, July 13, 2016.” No later amendments or additions are included. This document shall be made available to anyone upon written request to the Department of Natural Resources, Water Protection Program, Water Pollution Control Branch, PO Box 176, Jefferson City, MO 65102-0176.

(4) General Criteria. The following water quality criteria shall be applicable to all waters of the state at all times including mixing zones. No water contaminant, by itself or in combination with other substances, shall prevent the waters of the state from meeting the following conditions:

(A) Waters shall be free from substances in sufficient amounts to cause the formation of putrescent, unsightly, or harmful bottom deposits or prevent full maintenance of designated uses;

(B) Waters shall be free from oil, scum, and floating debris in sufficient amounts to be unsightly or prevent full maintenance of designated uses;

(C) Waters shall be free from substances in sufficient amounts to cause unsightly color or turbidity, offensive odor, or prevent full maintenance of designated uses;

(D) Waters shall be free from substances or conditions in sufficient amounts to result in toxicity to human, animal, or aquatic life. However, acute toxicity criteria may be exceeded by permit in zones of initial dilution, and chronic toxicity criteria may be exceeded by permit in mixing zones;

(E) Waters shall maintain a level of water quality at their confluences to downstream waters that provides for the attainment and maintenance of the water quality standards of those downstream waters, including waters of another state;

(F) There shall be no significant human health hazard from incidental contact with the water;

(G) There shall be no acute toxicity to livestock or wildlife watering;

(H) Waters shall be free from physical, chemical, or hydrologic changes that would impair the natural biological community;

(I) Waters shall be free from used tires, car bodies, appliances, demolition debris, used vehicles or equipment, and solid waste as defined in Missouri’s Solid Waste Law, section 260.200, RSMo, except as the use of such materials is specifically permitted pursuant to sections 260.200–260.247, RSMo;

(J) Waters in mixing zones, ephemeral aquatic habitat and waters of the state lacking designated uses shall be subject to the following requirements:

1. The acute toxicity criteria of Tables A1, A2, and B1 and the requirements of subsection (5)(B); and

2. The following whole effluent toxicity conditions must be satisfied:

A. Single dilution method. The percent effluent at the edge of the zone of initial dilution will be computed and toxicity tests performed at this percent effluent. These tests must show statistically-insignificant mortality on the most sensitive of at least two (2) representative, diverse species; and

B. Multiple dilution method. An LC50 will be derived from a series of test dilutions. The computed percent effluent at the edge of the zone of initial dilution must be less than three-tenths (0.3) of the LC50 for the most sensitive of at least two (2) representative, diverse species.

(5) Specific Criteria. The specific criteria shall apply to waters contained in Tables G and H of this rule and the Missouri Use Designation Dataset. Protection of drinking water supply is limited to surface waters designated for raw drinking water supply and aquifers. Protection of whole body contact recreation is limited to waters designated for that use.

(A) The criteria in Tables A1, A2, B1, B2, and B3 shall apply to waters designated for the indicated uses given in the Missouri Use Designation Dataset and Tables G and H. These values are not to be exceeded more than once every three (3) years. Criteria in Tables A1, A2, B2, and B3 are chronic toxicity criteria, except those specifically identified as acute toxicity criteria. Table A1 values listed as health advisory levels shall be used in establishing discharge permit limits and management strategies until additional data becomes available to support alternative criteria, or other standards are established. Water contaminants shall not cause or contribute to concentrations in excess of the criteria values in Tables A1, A2, B1, B2, and B3. However, exceptions may be granted in the following cases:

1. Permanent flow streams when the stream flow is less than 7Q10;

2. Regulated flow streams if the flow is less than the minimum release flow agreed upon by the regulating agencies;

3. For the natural and unavoidable chemical and physical changes that occur in the hypolimnion of lakes. Streams below impoundments shall meet applicable specific criteria;

4. For mixing zones.

A. The mixing zone shall be exempted from the chronic criteria requirements of this section for those components of waste that are rendered nontoxic by dilution, dissipation, or rapid chemical transformation. Acute numeric criteria of Tables A1, A2, and B1 and whole effluent acute toxicity requirements of subsection (4)(J) must be met at all times within the mixing zone, except within the zone of initial dilution. The following criteria do not apply to thermal mixing zones. Criteria for thermal mixing zones are listed in paragraph (5)(D)6.

B. The maximum size of mixing zones and zones of initial dilution will be determined as follows (the size may be refined by the use of mixing zone models, e.g. CORMIX, as appropriate):

(I) Streams with 7Q10 low flows of less than one-tenth cubic foot per second (0.1 cfs)—

(a) Mixing zone—not allowed; and

(b) Zone of initial dilution—not allowed;

(II) Streams with 7Q10 low flow of one-tenth to twenty cubic feet per second (0.1–20 cfs)—

(a) Mixing zone—one-quarter (1/4) of the stream width, cross-sectional area, or volume of flow; length one-quarter (1/4) mile. If the discharger can document that rapid and complete mixing of the effluent occurs in the receiving stream, the mixing zone may be up to one-half (1/2) of the stream width, cross-sectional area, or volume of flow; and

(b) Zone of initial dilution—one-tenth (0.1) of the mixing zone width, cross-sectional area, or volume of flow;

(III) Streams with 7Q10 low flow of greater than twenty cubic feet per second (20 cfs)—

(a) Mixing zone—one-quarter (1/4) of stream width, cross-sectional area, or volume of flow; length of one-quarter (1/4) mile. If the discharger can document that rapid and complete mixing of the effluent occurs in the receiving stream, the mixing zone may be up to one-half (1/2) of the stream width, cross-sectional area, or volume of flow; and

(b) Zone of initial dilution—one-tenth (0.1) of the mixing zone width, cross-sectional area, or volume of flow and no more than ten (10) times the effluent design flow volume unless the use of diffusers or specific mixing zone studies can justify more dilution; and

(IV) Lakes—

(a) Mixing zone—not to exceed one-quarter (1/4) of the lake width at the discharge point or one hundred feet (100') from the discharge point, whichever is less; and

(b) Zone of initial dilution—not allowed.

C. A mixing zone shall not overlap another mixing zone in a manner that the maintenance of aquatic life in the body of water in the overlapping area would be further adversely affected.

D. Other factors that may prohibit or further limit the size and location of mixing zones are the size of the river, the volume of discharge, the stream bank configuration, the mixing velocities, other hydrologic or physiographic characteristics, and the designated uses of the water, including type of aquatic life supported, potential effects on mouths of tributary streams, and proximity to water supply intakes.

E. Zones of passage must be provided wherever mixing zones are allowed.

F. Mixing zone and zone of initial dilution size limits will normally be based on streams at the 7Q10 low flow. However, this percent of stream size limits also applies at higher stream flows and discharge limitations may be based on higher stream flows if discharge volume or quality may be adjusted to correlate with stream flow; and

5. For wetlands. Water quality needs will vary depending on the individual characteristics of the wetland. Application of numeric criteria will depend on the specific aquatic life, wildlife, and vegetation requirements.

A. Specific criteria for wetlands shall be developed using scientific procedures including, but not limited to, those procedures described in the U.S. Environmental Protection Agency’s Water Quality Standards Handbook, Second Edition, August 1994 as published by the Office of Science and Technology, Office of Water, U.S. Environmental Protection Agency, Washington, DC 20460, which are hereby incorporated by reference and do not include any later amendments or additions. The department shall maintain a copy of the referenced documents and shall make them available to the public for inspection and copying at no more than the actual cost of reproduction.

B. Specific criteria shall protect all life stages of species associated with wetlands and prevent acute and chronic toxicity in all parts of the wetland.

C. Specific criteria shall include both chronic and acute concentrations to better reflect the different tolerances to the inherent variability between concentrations and toxicological characteristics of a condition.

D. Specific criteria shall be clearly identified as maximum “not to be exceeded” or average values, and if an average, the averaging period and the minimum number of samples. The conditions, if any, when the criteria apply shall be clearly stated (e.g., specific levels of hardness, pH, or water temperature). Specific sampling requirements (e.g., location, frequency), if any, shall also be identified.

E. The data, testing procedures, and application (safety) factors used to develop specific criteria shall reflect the nature of the condition (e.g., persistency, bioaccumulation potential) and the most sensitive species associated with the wetland.

F. Each specific criterion shall be promulgated in rule 10 CSR 20-7.031. The public notice shall include a description of the affected wetland and the reasons for applying the proposed criterion. A public hearing may be held in the geographical vicinity of the affected wetland. Any specific criterion promulgated under these provisions is subject to U.S. Environmental Protection Agency approval prior to becoming effective.

(B) Toxic Substances.

1. Water contaminants shall not cause the criteria in Tables A1, A2, B1, B2, and B3 to be exceeded. Concentrations of these substances in bottom sediments or waters shall not harm benthic organisms and shall not accumulate through the food chain in harmful concentrations, nor shall state and federal maximum fish tissue levels for fish consumption be exceeded. More stringent criteria may be imposed if there is evidence of additive or synergistic effects.

2. Metals criteria in Table A1 are expressed according to designated use as follows:

A. Aquatic life protection and human health protection—

(I) Mercury—total recoverable metals; and

(II) All other metals—dissolved metals;

B. Drinking water supply—total recoverable metals; and

C. All other designated uses—total recoverable metals.

3. Other potentially toxic substances for which sufficient toxicity data are not available may not be released to waters of the state until safe levels are demonstrated through adequate bioassay studies.

4. Drinking water criteria, for substances which are rendered nontoxic by transformation processes in the surface water body, shall apply at water supply withdrawal points.

5. Site-specific alternative criteria for human health protection may be allowed. Designation of these site-specific criteria must follow procedures set forth in U.S. Environmental Protection Agency’s Methodology for Deriving Ambient Water Quality Criteria for the Protection of Human Health, October 2000 (EPA-822-B-00-004), as published by the Office of Science and Technology, Office of Water, U.S. Environmental Protection Agency, Washington, DC 20460, which is hereby incorporated by reference and does not include any later amendments or additions. The department shall maintain a copy of the referenced document and shall make it available to the public for inspection and copying at no more than the actual cost of reproduction.

6. Metals criteria for which toxicity is hardness dependent are in equation format in Table A2.

7. Total ammonia nitrogen. For any given sample, the total ammonia nitrogen criteria shall be based on the pH and temperature of the water body measured at the time of each sample at the point of compliance.

A. The acute criteria shall not be exceeded at any time except in those waters for which the department has allowed a zone of initial dilution (ZID). The one- (1-) day Q10 low flow condition will be used in determining acute total ammonia nitrogen criteria.

B. The chronic criteria shall not be exceeded except in water segments for which the department has allowed a mixing zone (MZ). The chronic criteria shall be based on a thirty- (30-) day exposure period. Therefore, the thirty- (30-) day Q10 low flow condition of the receiving water body will be used in determining chronic total ammonia nitrogen criteria.

C. Without sufficient and reliable data, it is assumed that early life stages are present and must be protected at all times of the year.

(I) Sufficient and reliable data shall include, but are not limited to, seasonal studies on the fish species distributions, spawning periods, nursery periods, duration of sensitive life stages, and water body temperature. Best professional judgment from fishery biologists and other scientists will be considered as appropriate.

(II) The time frames during the year when early life stages are considered to be absent are those time periods when early life stages are present in numbers that, if chronic toxicity did occur, would not affect the long-term success of the populations.

(III) A source of information for determining the duration of early life stages is The American Society for Testing and Materials (ASTM) Standard E-1241, “Standard Guide for Conducting Early Life-Stage Toxicity Tests with Fishes.”

(IV) Protection of early life stages should include the most sensitive species that have used a water body for spawning and rearing since November 28, 1975.

(C) Bacteria. The protection of whole body contact recreation is limited to waters designated for that use. The recreational season is from April 1 to October 31. The E. coli count shall not exceed the criterion listed in Table A1 as a geometric mean during the recreational season in waters designated for whole body contact recreation. The E. coli count shall not exceed one hundred twenty-six (126) per one hundred milliliters (100 mL) at any time in losing streams. For waters designated for secondary contact recreation, the E. coli count shall not exceed one thousand one hundred thirty-four (1,134) per one hundred milliliters (100 mL) as a geometric mean during the recreational season.

(D) Temperature.

1. For warm water habitats beyond the mixing zone, water contaminant sources and physical alteration of the water course shall not raise or lower the temperature of a stream more than five degrees Fahrenheit (5 °F) or two and seven-ninths degrees Celsius (2 7/9 °C). Water contaminant sources shall not cause or contribute to stream temperature in excess of ninety degrees Fahrenheit (90 °F) or thirty-two and two-ninths degrees Celsius (32 2/9 °C). However, site-specific ambient temperature data and requirements of sensitive resident aquatic species will be considered, when data are available, to establish alternative maxima or deviations from ambient temperatures.

2. For cool water habitats beyond the mixing zone, water contaminant sources and physical alteration of the water course shall not raise or lower the temperature of a stream more than five degrees Fahrenheit (5 °F) or two and seven-ninths degrees Celsius (2 7/9 °C). Water contaminant sources shall not cause or contribute to stream temperature in excess of eighty-four degrees Fahrenheit (84 °F) or twenty-eight and eight-ninths degrees Celsius (28 8/9 °C).

3. For cold water habitats beyond the mixing zone, water contaminant sources and physical alteration of the water course shall not raise or lower the temperature of the water body more than two degrees Fahrenheit (2 °F) or one and one-ninth degrees Celsius (1 1/9 °C). Water contaminant sources shall not cause or contribute to temperatures above sixty-eight degrees Fahrenheit (68 °F) or twenty degrees Celsius (20 °C).

4. Water contaminant sources shall not cause any measurable rise in the temperature of lakes. An increase is allowable for Lake Springfield, Thomas Hill Reservoir, and Montrose Lake; however, discharges from these lakes must comply with temperature limits for streams.

5. For the Mississippi River Zones 1A and 2, the water temperature outside the mixing zone shall not exceed the maximum limits indicated in the following list during more than one percent (1%) of the time in any calendar year. In Zone 1B, limits may not be exceeded more than five percent (5%) of the time in a calendar year. At no time shall the river water temperature outside  of the thermal mixing zone exceed the listed limits by more than three degrees Fahrenheit (3 °F) or one and six-ninths degrees Celsius (1 6/9 °C).

A and B  	          C

(°F)	(°C)	(°F)	(°C)

January	45	7 2/9	50	10

February	45	7 2/9	50	10

March	57	13 8/9	60	15 5/9

April	68	20	70	21 1/9

May	78	25 5/9	80	26 6/9

June	86	30	87	30 5/9

July	88	31 1/9	89	31 6/9

August	88	31 1/9	89	31 6/9

September	86	30	87	30 5/9

October	75	23 8/9	78	25 5/9

November	65	18 3/9	70	21 1/9

December	52	11 1/9	57	13 8/9

A = Zone 1A—Des Moines River to Lock and Dam No. 25.

B = Zone 1B—Lock and Dam No. 25 to Lock and Dam No. 26.

C = Zone 2—Lock and Dam No. 26 to the Missouri-Arkansas state line.

6. Thermal mixing zones shall be limited to twenty-five percent (25%) of the cross-sectional area or volume of a river, unless biological surveys performed in response to section 316(a) of the federal Clean Water Act (or equivalent) indicate no significant adverse impact on aquatic life. Thermal plume lengths and widths within rivers, and all plume dimensions within lakes, shall be determined on a case-by-case basis and shall be based on physical and biological surveys when appropriate.

(E) pH. Water contaminants shall not cause the pH concentration to be outside of the range of 6.5 to 9.0 standard pH units.

(F) Taste- and Odor-Producing Substances. Taste- and odor-producing substances shall be limited to concentrations in the streams or lakes that will not interfere with designated uses of the water. For those streams and lakes designated for drinking water supply use, the taste- and odor-producing substances shall be limited to concentrations that will not interfere with the production of potable water by reasonable water treatment processes.

(G) Turbidity and Color. Water contaminants shall not cause or contribute to turbidity or color that will cause substantial visible contrast with the natural appearance of the stream or lake or interfere with designated uses.

(H) Solids. Water contaminants shall not cause or contribute to solids in excess of a level that will interfere with designated uses. The stream or lake bottom shall be free of materials which will adversely alter the composition of the benthos, interfere with the spawning of fish or development of their eggs, or adversely change the physical or chemical nature of the bottom.

(I) Radioactive Materials. All streams and lakes shall conform to state and federal limits for radionuclides established for drinking water supply.

(J) Dissolved Oxygen. Water contaminants shall not cause the dissolved oxygen to be lower than the levels described in Table A1.

(K) Total Dissolved Gases. Operation of impoundments shall not cause the total dissolved gas concentrations to exceed one hundred ten percent (110%) of the saturation value for gases at the existing atmospheric and hydrostatic pressures.

(L) Chloride Plus Sulfate Limit for Protection of Aquatic Life. The concentration of chloride plus sulfate shall not exceed one thousand milligrams per liter (1,000 mg/L). Table A1 includes additional chloride criteria.

(M) Carcinogenic Substances. Carcinogenic substances shall not exceed concentrations in water which correspond to the 10-6 cancer risk rate. This risk rate equates to one (1) additional cancer case in a population of one (1) million with lifetime exposure. Derivation of this concentration assumes average water and fish consumption amounts. Assumptions are two (2) liters of water and six and one-half (6.5) grams of fish consumed per day. Federally established final maximum contaminant levels for drinking water supply shall supersede drinking water supply criteria developed in this manner.

(N) Nutrients and Chlorophyll.

1. Definitions.

A. For the purposes of these criteria, all lakes and reservoirs shall be referred to as “lakes.”

B. Lake ecoregions—Due to differences in watershed topography, soils, and geology, nutrient criteria for lakes and reservoirs will be determined by the use of four (4) major ecoregions based upon dominant watershed ecoregion. These regions were delineated by grouping the ecological subsections described in Nigh and Schroeder, 2002, Atlas of Missouri Ecoregions, as follows:

(I) Plains: OP1—Scarped Osage Plains; OP2—Cherokee Plains; TP2—Deep Loess Hills; TP3—Loess Hills; TP4—Grand River Hills; TP5—Chariton River Hills; TP6—Claypan Till Plains; TP7—Wyaconda River Dissected Till Plains; TP8—Mississippi River Hills;

(II) Ozark Border: MB2a—Crowley’s Ridge Loess Woodland/Forest Hills; OZ11—Prairie Ozark Border; OZ12—Outer Ozark Border; OZ13—Inner Ozark Border;

(III) Ozark Highland: OZ1—Springfield Plain; OZ2—Springfield Plateau; OZ3—Elk River Hills; OZ4—White River Hills; OZ5—Central Plateau; OZ6—Osage River Hills; OZ7—Gasconade River Hills; OZ8—Meramec River Hills; OZ9—Current River Hills; OZ10—St. Francois Knobs and Basins; OZ14—Black River Ozark Border; and

(IV) Big River Floodplain: MB1—Black River Alluvial Plain; MB2b—Crowley’s Ridge Footslopes and Alluvial Plains; MB3—St. Francis River Alluvial Plain; MB4, OZ16, TP9—Mississippi River Alluvial Plain; OZ15, TP1—Missouri River Alluvial Plain.

C. Nutrient Criteria—Nutrient criteria represent the desired condition for a water body necessary to protect the designated uses assigned in rule.

(I) Lake Ecoregion Criteria—A decision framework that integrates causal and response parameters into one (1) water quality standard that accounts for uncertainty in linkages between causal and response parameters.

(a) Response Impairment Thresholds—Maximum ambient concentrations of chlorophyll-a (Chl-a) that are based on annual geometric means of samples collected May through September with an allowable exceedance frequency of one in three (1-in-3) years for lakes that have not been assigned site-specific criteria.

(b) Nutrient Screening Thresholds—Maximum ambient concentrations of total phosphorus (TP), total nitrogen (TN), and Chl-a that are based on the annual geometric mean of samples collected May through September. Nutrient screening thresholds represent causal and response parameter concentrations, above which an exceedance in any one year warrants further evaluation of Response Assessment Endpoints.

(c) Response Assessment Endpoints—Narrative and numeric biological response endpoints that link directly to designated use impairment.

(II) Lake Site-Specific Criteria—Maximum Ambient Concentrations of TP, TN, or Chl-a that are based on the geometric mean of a minimum of three (3) years of data and the characteristics of the water body.

2. This rule applies to all lakes that are waters of the state and have an area of at least ten (10) acres during normal pool condition. Big River Floodplain lakes shall not be subject to these criteria.

3. Response Impairment Thresholds are listed in Table L. Nutrient Screening Thresholds are listed in Table M. Lake Site-Specific Criteria for TP, TN, and Chl-a are listed in Table N. Additional lake site-specific criteria may be developed in accordance with subsection (5)(S) to account for the unique characteristics of the water body that affect trophic status, such as lake morphology, hydraulic residence time, temperature, internal nutrient cycling, or watershed contribution from multiple ecoregions.

4. All TP, TN, and Chl-a concentrations must be calculated as the geometric mean of a minimum of four (4) representative samples per year for one (1) year for purposes of comparison to lake ecoregion criteria thresholds. All samples must be collected from the lake surface, near the outflow of the lake, and during the period May 1 – September 30.

5. Lakes with water quality that exceed Response Impairment Thresholds or Lake Site-Specific Criteria identified in Tables L and N are to be deemed impaired for excess nutrients.

6. Lakes are to be deemed impaired for excess nutrients if any of the following Response Assessment Endpoints are documented to occur within the same year as an exceedances of Nutrient Screening Thresholds in Table M. The department shall collect information on Response Assessment Endpoints concurrently with collection of Nutrient Screening Threshold parameters. The department shall determine attainment of Nutrient Criteria during the biennial assessment of Missouri waters.

A. Occurrence of eutrophication-related mortality or morbidity events for fish and other aquatic organisms;

B. Epilimnetic excursions from dissolved oxygen or pH criteria;

C. Cyanobacteria counts in excess of one hundred thousand (100,000) cells per milliliter (cells/mL);

D. Observed shifts in aquatic diversity attributed to eutrophication; and

E. Excessive levels of mineral turbidity that consistently limit algal productivity during the period May 1 – September 30.

(O) All methods of sample collection, preservation, and analysis used in applying criteria in these standards shall be in accord with those prescribed in the latest edition of Standard Methods for the Examination of Water and Wastewater or other procedures approved by the Environmental Protection Agency and the Missouri Department of Natural Resources.

(P) Criteria to protect designated uses are based on current technical literature, especially the Environmental Protection Agency’s publication, Quality Criteria for Water, 1986. Criteria may be modified or expanded as additional information is developed or as needed to define narrative criteria for particular situations or locations.

(Q) WET Chronic Tests. Chronic WET tests performed at the percent effluent at the edge of the mixing zone shall not be toxic to the more sensitive of at least two (2) representative, diverse species. Pollutant attenuation processes such as volatilization and biodegradation which may occur within the allowable mixing zone will be considered in interpreting results.

(R) Biocriteria. The biological integrity of waters, as measured by lists or numeric indices of benthic invertebrates, fish, algae, or other appropriate biological indicators, shall not be significantly different from reference waters. Waters targeted for numeric biological criteria assessment must be contained within the Missouri Use Designation Dataset and shall be compared to reference waters of similar size, scale within the stream network, habitat type, and aquatic ecoregion type. Reference water locations for some aquatic habitat types are listed in Table I.

(S) Site-Specific Criteria Development for the Protection and Propagation of Fish, Shellfish, and Wildlife. When water quality criteria in this regulation are either underprotective or overprotective of water quality due to factors influencing bioavailability, or nonanthropogenic conditions for a given water body segment, a petitioner may request site-specific criteria. The petitioner must provide the department with sufficient documentation to show that the current criteria are not adequate and that the proposed site-specific criteria will protect all existing and/or potential uses of the water body.

1. Site-specific criteria may be appropriate where, but is not limited to, the examples given in subparagraphs A. or B. of this paragraph.

A. The resident aquatic species of the selected water body have a different degree of sensitivity to a specific pollutant as compared to those species in the data set used to calculate the national or state criteria as described in either of the following parts:

(I) Natural adaptive processes have enabled a viable, balanced aquatic community to exist in waters where natural (non-anthropogenic) background conditions exceed the criterion (e.g., resident species have evolved a genetically-based greater tolerance to high concentrations of a chemical); or

(II) The composition of aquatic species in a water body is different from those used in deriving a criterion (e.g., most of the species considered among the most sensitive, such as salmonids or the cladoceran, Ceriodaphinia dubia, which were used in developing a criterion, are absent from a water body).

B. The physical and/or chemical characteristics of the water body alter the biological availability and/or toxicity of the pollutant (e.g., pH, alkalinity, salinity, water temperature, hardness). Such an example is the Water Effect Ratio (WER) defined at (1)(BB) of this rule.

2. All petitioners seeking to develop site-specific criteria shall coordinate with the department early in the process. This coordination will ensure the use of adequate, relevant, and quality data; proper analysis and testing; and defendable procedures.

A. The department will provide guidance for establishing site-specific water quality criteria using scientific procedures including, but not limited to, those procedures described in:

(I) U.S. Environmental Protection Agency’s Water Quality Standards Handbook, Second Edition, August 1994;

(II) U.S. Environmental Protection Agency’s Interim Guidance on Determination and Use of Water-Effect Ratios for Metals (EPA-823-B-94-001) and subsequent 1997 modifications;

(III) U.S. Environmental Protection Agency’s Streamlined Water-Effect Ratio Procedure for Discharges of Copper (EPA-822-R-01-005); and

(IV) U.S. Environmental Protection Agency’s Aquatic Life Ambient Freshwater Quality Criteria – Copper 2007 Revision (EPA-822-R-07-001).

B. Site-specific criteria development for the Protection and Propagation of Fish, Shellfish, and Wildlife shall be performed using the guidance documents listed in parts (5)(S)2.A.(I)–(IV) as published by the Office of Science and Technology, Office of Water, U.S. Environmental Protection Agency, Washington, DC 20460, which are hereby incorporated by reference and do not include any later amendments or additions. The department shall maintain a copy of the referenced documents and shall make them available to the public for inspection and copying at no more than the actual cost of reproduction.

3. Site-specific criteria shall protect all life stages of resident species and prevent acute and chronic toxicity in all parts of a water body.

4. Site-specific criteria shall include both chronic and acute concentrations to better reflect the different tolerances of resident species to the inherent variability between concentrations and toxicological characteristics of a chemical.

5. Site-specific criteria shall be clearly identified as maximum “not to be exceeded” or average values, and if an average, the averaging period and the minimum number of samples. The conditions, if any, when the criteria apply shall be clearly stated  (e.g., specific levels of hardness, pH, or water temperature). Specific sampling requirements (e.g., location, frequency), if any, shall also be identified.

6. The data, testing procedures, and application (safety) factors used to develop site-specific criteria shall reflect the nature of the chemical (e.g., persistency, bioaccumulation potential, and avoidance or attraction responses in fish) and the most sensitive resident species of a water body.

7. The size of a site may be limited to a single water segment, single water subsegment, or may cover a whole watershed depending on the particular situation for which the specific criterion is developed. A group of water bodies may be considered one (1) site if their respective aquatic communities are similar in composition and have comparable water quality.

8. The department shall determine if a site-specific criterion is adequate and justifiable. The public notice shall include a description of the affected water body or water body segment and the reasons for applying the proposed criterion. If the department determines that there is significant public interest, a public hearing may be held in the geographical vicinity of the affected water body or water body segment. Any site-specific criterion promulgated under these provisions is subject to U.S. Environmental Protection Agency approval prior to becoming effective for Clean Water Act purposes.

(6) Groundwater.

(A) Water contaminants shall not cause or contribute to exceedence of Table A1, groundwater limits in aquifers and caves. Table A1 values listed as health advisory levels shall be used in establishing management strategies and groundwater cleanup criteria, until additional data becomes available to support alternative criteria or other standards are established. Substances not listed in Table A1 shall be limited so that drinking water, livestock watering, and irrigation uses are protected.

(B) When criteria for the protection of aquatic life or human health protection in Table A1 are more stringent than groundwater criteria, appropriate criteria for the protection of aquatic life or human health shall apply to waters in caves and to aquifers which contribute an important part of base flow of surface waters designated for aquatic life protection. Other substances not listed in Table A1 shall be limited in these aquifers and caves so that the aquatic life use is protected.

(C) Groundwater and other criteria shall apply in any part of the aquifer, including the point at which the pollutant enters the aquifer. A specific monitoring depth requirement for releases to aquifers is included in 10 CSR 20-7.015(7)(A).

(D) For aquifers in which contaminant concentrations exceed groundwater criteria or other protection criteria, and existing and potential uses are not impaired, alternative site-specific criteria may be allowed. To allow alternative criteria, the management authority must demonstrate that alternative criteria will not impair existing and potential uses. The demonstration must consider the factors and be subject to the review requirements of 10 CSR 20-7.015(7)(F).

(7) Metropolitan No-Discharge Streams. No water contaminant except uncontaminated cooling water, permitted stormwater discharges in compliance with permit conditions, and excess wet-weather bypass discharges not interfering with designated uses shall be discharged to the watersheds of streams listed in Table F. Existing interim discharges may be allowed until interceptors are available within two thousand feet (2,000') or a distance deemed feasible by the department, or unless construction of outfalls to alternative receiving waters not listed in Table F is deemed feasible by the department. Existing discharges include wastewater volumes up to the design capacity of existing permitted treatment facilities, including phased increases in design capacity approved by the department prior to the effective date of this rule. Additional facilities may be constructed to discharge to these waters only if they are intended to be interim facilities in accordance with a regional wastewater treatment plan approved by the department.

(8) Outstanding National Resource Waters. Under section (3), antidegradation section of this rule, new releases to outstanding national resource waters from any source are prohibited, and releases from allowed facilities are subject to special effluent limitations as required in 10 CSR 20-7.015(6). Table D contains a list of the outstanding national resource waters in Missouri.

(9) Outstanding State Resources Waters. The commission wishes to recognize certain high-quality waters that may require exceptionally stringent water-quality management requirements to assure conformance with the antidegradation policy. The degree of management requirements will be decided on an individual basis. To qualify for inclusion, all of the following criteria must be met. The waters listed in Table E must—

(A) Have a high level of aesthetic or scientific value;

(B) Have an undeveloped watershed; and

(C) Be located on or pass through lands which are state or federally owned, or which are leased or held in perpetual easement for conservation purposes by a state, federal, or private conservation agency or organization.

(10) Lake Taneycomo. The commission wishes to recognize the uniqueness of Lake Taneycomo with respect to its high water clarity, its importance as a trout fishery, and as the central natural resource in the rapidly developing Branson area and threats to the lake’s water quality imposed by development. An especially stringent antidegradation policy will be observed in the development of effluent rules, discharge permits, and nonpoint-source management plans and permits to assure that the high visual quality and aquatic resources are maintained. The use of the best treatment technology for point- and nonpoint-source discharges in the lake’s watershed between Table Rock Lake and Power Site Dam will be the guiding principle in establishing limitations.

(11) Compliance with Water Quality Based Limitations. Compliance with new or revised National Pollutant Discharge Elimination System (NPDES) or Missouri operating permit limitations based on criteria in this rule shall be achieved in accordance with federal regulation at 40 CFR Part 122.47, “Schedules of Compliance,” May 15, 2000, as published by the Office of the Federal Register, National Archives and Records Administration, Superintendent of Documents, Pittsburgh, PA 15250-7954, which is hereby incorporated by reference and does not include any later amendments or additions. The department shall maintain a copy of the referenced document and shall make it available to the public for inspection and copying at no more than the actual cost of reproduction.

(12) Water Quality Standards Variances. A permittee or an applicant for a National Pollutant Discharge Elimination System (NPDES) or Missouri state operating permit may apply for a temporary variance pursuant to section 644.061, RSMo. A variance from water quality standards shall comply with 40 CFR 131.14.

(A) Each variance shall be granted only after public notification and opportunity for public comment. Once any variance to water quality standards is granted, the department shall submit the variance, with an Attorney General Certification that the Clean Water Commission adopted the variance in accordance with state law, to the U.S. Environmental Protection Agency for approval.

(B) Individual variances may be granted using the terms, conditions, and procedures found in the “Missouri Multiple Discharger Variance Framework from the Water Quality Standards of Total Ammonia Nitrogen, CWC-MDV-1-17,” dated April 22, 2020, which is incorporated by reference and does not include any later amendments or additions. The department shall maintain a copy of the referenced documents and shall make them available to the public for inspection and copying at no more than the actual cost of reproduction.

(C) Variance terms and conditions, including facility name, permit number, receiving stream name, first classified water body ID, discharge location, highest attainable condition, effective permit date, and the variance expiration date will be incorporated into the Missouri Use Designation Dataset and Table J.

(13) Losing Streams.

(A) Losing stream determinations will usually be made upon the first application for discharge to a specific water or location within a watershed for a wastewater treatment facility, subdivision development, or animal waste management facility.

(B) Permits or other approvals for those applications will be processed in accordance with the determinations. Additional permits or approvals will be processed in accordance with the latest determination.

(C) For application purposes, any proposed facility within five (5) miles of a known losing stream segment should presume that facility’s receiving stream segment is also losing until and unless a specific geologic evaluation is made of that stream and concludes the stream segment is gaining.

(D) Existing facilities operating under a state operating permit and new facilities being constructed under a construction permit in proximity to stream segments subsequently determined to be losing will be allowed to continue in operation at permitted or approved effluent limits for a period of time lasting the design life of the facility (usually twenty (20) years from the original construction completion), provided the facility is in compliance with its effluent limits and remains in compliance with those limits, and if neither of the following conditions is present:

1. If the discharge from such a facility can be eliminated by connection to a locally available facility, the facility shall be connected within three (3) years of the losing stream determination. A local facility shall be considered available if that facility or an interceptor is within two thousand feet (2000') or a distance deemed feasible by the department; and

2. If the discharge from such a facility is shown to cause pollution of groundwater, the facility shall be upgraded to appropriate effluent standards within three (3) years. The department shall include appropriate groundwater monitoring requirements in permits for any such facilities so that pollution, should it occur, would be detected.

(E) Any additional permits or approvals for increased treatment plant design capacity will be processed in accordance with the newest losing stream determination. No additional permits or approvals for any facilities shall be construed as lengthening the time for compliance with losing stream effluent limitations as established in subsection (13)(D).

(14) Severance. If a section, subsection, paragraph, sentence, clause, phrase, or any part of this rule be declared unconstitutional or invalid for any reason, the remainder of this rule shall not be affected and shall remain in full force and effect.

(15) Effective Date. This rule becomes effective immediately upon adoption and compliance with the requirements of subsection 644.036.3., RSMo, of the Missouri Clean Water Law and Chapter 536, RSMo.

AUTHORITY: sections 644.021 and 644.026, RSMo 2016.* Original rule filed May 13, 1977, effective Dec. 11, 1977. Amended: Filed Oct. 15, 1980, effective April 11, 1981. Amended: Filed July 12, 1984, effective Dec. 13, 1984. Rescinded and readopted: Filed Aug. 4, 1987, effective Dec. 12, 1987. Amended: Filed Nov. 14, 1988, effective April 15, 1989. Rescinded and readopted: Filed Sept. 5, 1990, effective March 14, 1991. Amended: Filed Sept. 2, 1993, effective May 9, 1994. Amended: Filed Nov. 14, 1995, effective July 30, 1996. Amended: Filed March 1, 1996, effective Nov. 30, 1996. Amended: Filed March 31, 2005, effective Dec. 31, 2005. Amended: Filed Dec. 13, 2007, effective Aug. 30, 2008. Emergency amendment filed Nov. 12, 2008, effective Nov. 22, 2008, expired May 20, 2009. Amended: Filed Feb. 3, 2009, effective Oct. 30, 2009. Amended: Filed Oct. 31, 2011, effective June 30, 2012. Amended: Filed May 15, 2013, effective Feb. 28, 2014. Amended: Filed Sept. 18, 2017, effective April 30, 2018. Amended: Filed June 15, 2021, effective Feb. 28, 2022.

*Original authority: 644.021, RSMo 1972, amended 1973, 2000, 2002, 2007, 2016, and 644.026, RSMo 1972, amended 1973, 1987, 1993, 1995, 2000, 2012, 2014.

10 CSR 20-7.050 Methodology for Development of Impaired Waters List

PURPOSE: This rule describes the process used to develop the list of impaired waters as required by the Federal Water Pollution Control Act, Section 303(d), for the purpose of identifying those waters that do not fulfill their designated uses and require the development of total maximum daily loads.

(1) Definitions.

(A) Aquatic assemblage—Any major group of aquatic organisms, such as fish, aquatic macroinvertebrate animals, algae, or aquatic macrophytes.

(B) Pollutant—Dredged spoil, solid waste, incinerator residue, sewage, garbage, sewer sludge, munitions, chemical waste, biological materials, radioactive materials, heat, wrecked or discarded equipment, rock, sand, cellar dirt, filter backwash, or industrial, municipal, or agricultural waste discharged into water.

(C) Qualitative biological monitoring—Monitoring that identifies the different taxa but not the relative abundance of the organisms being sampled.

(D) Quantitative biological monitoring—Monitoring that determines the density per unit area or relative abundance of living organisms.

(E) Section 303(d) list—A list of certain impaired waters, required by Section 303(d) of the Federal Water Pollution Control Act.

(F) Total maximum daily load (TMDL) studies.  The objective of these studies is to determine the allowable amounts of a Section 303(d) listed pollutant that can be discharged to a Section 303(d) listed water and still be protective of all applicable water quality standards.

(2) Acceptable Water Quality Data for Use in Compiling the 303(d) List.

(A) The Missouri Department of Natural Resources (the department) will receive and review all data submitted, and will use scientifically defensible data. Scientifically defensible data will include data meeting the following requirements:

1. All environmental data generated directly by the department or through contracts funded by the department or the United States Environmental Protection Agency (USEPA) that are governed by a Quality Assurance Project Plan (QAPP) as required by the Total Quality Management Plan completed by the department and USEPA. The organization responsible for collection or collection and analysis of the environmental sampling must write and adhere to a QAPP approved by the quality assurance manager of the department; or

2. All environmental data collected by any other agencies, organizations, or individuals that are governed by an internal quality assurance program that has been reviewed and approved by the department.

(B) Only data collected subsequent to events with potential to cause permanent change in water quality in a given water shall be used to assess the present condition of that water.

(C) The department shall recognize four (4) levels of assurance for water quality data. Only data of Level 2 or higher shall be used to support additions, deletions, or changes to the proposed 303(d) list, unless the problem can be accurately characterized by Level 1 data. These four (4) levels are:

1. Level 1: All data not constituting Levels 2, 3, or 4.

2. Level 2:

A. Chemical data, collected quarterly to bimonthly for at least three (3) years, or intensive studies that monitor several nearby sites repeatedly over short periods of time; or

B. At least three (3) fish tissue samples.

3. Level 3:

A. Chemical data collected at least monthly for more than three (3) years and providing data on a variety of water quality constituents, including heavy metals and pesticides; or

B. Quantitative biological monitoring of at least one (1) aquatic assemblage at multiple sites.

4. Level 4:

A. Chemical data collected at least monthly for more than three (3) years and providing data on a variety of water quality constituents, including heavy metals and pesticides, and including chemical sampling of sediments and fish tissue; or

B. Quantitative biological monitoring of at least two (2) aquatic assemblages at multiple sites.

(3) How Water Quality Data is Evaluated for the Development of the 303(d) List.

(A) The department shall evaluate physical, chemical, biological, and toxicological data and determine whether any designated beneficial uses of waters are not being fully met.  If any designated beneficial uses of a water are determined to not be fully met, that water will be considered impaired.

(B) The following means may also be used to determine whether waters are impaired. This list is not all-inclusive.

1. Missouri’s narrative water quality criteria as described in 10 CSR 20-7.031, section (3) may be used to evaluate waters when a quantitative value can be applied to the pollutant.

2. The analysis of aquatic invertebrate data may be supported by habitat assessment protocols.

3. The department shall review the proposed 303(d) lists of all states with which Missouri shares border waters (Des Moines River, Mississippi River, Missouri River, and St. Francis River). When another state lists one of those waters differently than it is listed by Missouri, the department will request the data justifying that listing in the other state. Those data will be reviewed according to established data evaluation guidelines, and Missouri’s listing of that water may be changed, according to the result of that evaluation. In the case of a water that crosses into or out of Missouri, if that water’s proposed 303(d) listing status changes at the state line, the department shall, upon the request of the bordering state, EPA, or another interested party, review and evaluate the data justifying that water’s listing in the other state. The review will take place according to established data evaluation guidelines, and Missouri’s listing of that water may be changed, according to the result of that evaluation.

(4) Creation of the Proposed 303(d) List.

(A) The department shall develop a detailed methodology for identifying waters that are impaired and shall submit the methodology to public review prior to the development of an impaired waters list. The methodology shall include an explanation of how data are used, how the data are evaluated to determine impairment, and how a list of impaired waters is developed. The development of the methodology shall involve at least one (1) stakeholder meeting inviting all persons expressing an interest in the methodology and a sixty (60)-day comment period on the final draft. Following the review of public comments on the draft methodology, the department will provide written responses to the comments and obtain approval of the methodology from the Missouri Clean Water Commission before beginning water quality assessments for the purpose of completing the 303(d) list.

(B) The 303(d) list shall be developed in accordance with section 644.036.5, RSMo.

(C) The department shall establish priority ratings or schedules for the creation of total maximum daily loads (TMDLs) for waters on the proposed 303(d) list in accordance with the Federal Water Pollution Control Act, Section 303(d).

AUTHORITY: section 644.026, RSMo 2000.* Original rule filed Nov. 5, 2003, effective July 30, 2004. Emergency amendment filed Oct. 16, 2006, effective Oct. 26, 2006, expired April 23, 2007. Amended: Filed Nov. 14, 2006, effective Aug. 30, 2007. Emergency amendment filed Sept. 15, 2008, effective Jan. 2, 2009, expired June 30, 2009. Amended: Filed Sept. 15, 2008, effective June 30, 2009.

*Original authority: 644.026, RSMo 1972, amended 1973, 1987, 1993, 1995, 2000.